## DeviceInfo
DeviceIP | CalibrationFileName | DeviceType | DeviceName
10.75.58.66 | 3U_13I.cal | IDM-E | IDC-DAU-66

## Cabling
Channel | label | si_units | si_prefix | feeder_number | busbar | phase | tx_ratio_num | tx_ratio_den | usage | PMP_FR_Cabling | PMP_PQ_Cabling
Channel[0] | Channel 1 | VOLTS | UNIT | NO_FEEDER | BUSBAR1 | A/AB | 1 | 1 | BOTH | Cabling 3U3I | Cabling 3U3I
Channel[1] | Channel 2 | VOLTS | UNIT | NO_FEEDER | BUSBAR1 | B/BC | 1 | 1 | BOTH
Channel[2] | Channel 3 | VOLTS | UNIT | NO_FEEDER | BUSBAR1 | C/CA | 1 | 1 | BOTH
Channel[3] | Channel 4 | AMPS | UNIT | FEEDER1 | BUSBAR1 | A/AB | 1 | 1 | BOTH
Channel[4] | Channel 5 | AMPS | UNIT | FEEDER1 | BUSBAR1 | B/BC | 1 | 1 | BOTH |  |  | Channel 1 | VOLTS | NO_FEEDER | BUSBAR1 | A/AB | PQ
Channel[5] | Channel 6 | AMPS | UNIT | FEEDER1 | BUSBAR1 | C/CA | 1 | 1 | BOTH |  |  | Channel 2 | AMPS | FEEDER1 | BUSBAR2 | B/BC | FR
Channel[6] | Channel 7 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 3 |  | FEEDER2 | VBUSBAR1 | C/CA | BOTH
Channel[7] | Channel 8 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 4 |  | FEEDER3 | VBUSBAR2 | N | STANDALONE
Channel[8] | Channel 9 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 5 |  | FEEDER4 | NO_BUSBAR | NONE | STANDALONE_PQ
Channel[9] | Channel 10 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 6 |  | FEEDER5
Channel[10] | Channel 11 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 7
Channel[11] | Channel 12 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 8
Channel[12] | Channel 13 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 9
Channel[13] | Channel 14 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 10
Channel[14] | Channel 15 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 11
Channel[15] | Channel 16 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 12
Channel[16] | Channel 17 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 13
Channel[17] | Channel 18 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 14
Channel 15
Channel 16
Channel 17
Channel 18

## DSPFeederMap
DSP_Feeder_Map | Values
DSP_1_Feeder_Map_0 | 0
DSP_1_Feeder_Map_1 | 1
DSP_1_Feeder_Map_2 | 2
DSP_1_Feeder_Map_3 | -1
DSP_2_Feeder_Map_0 | 3
DSP_2_Feeder_Map_1 | 4
DSP_2_Feeder_Map_2 | -1
DSP_2_Feeder_Map_3 | -1

## BusbarFeederMap
Busbar_Channel_Map | Values
Busbar_0_Channel_0 | 1
Busbar_0_Channel_1 | 2
Busbar_0_Channel_2 | 3
Busbar_0_Channel_3 | 0
Busbar_0_Channel_Count | 3
Busbar_1_Channel_0 | 0
Busbar_1_Channel_1 | 0
Busbar_1_Channel_2 | 0
Busbar_1_Channel_3 | 0
Busbar_1_Channel_Count | 0
Feeder_0_Channel_0 | 4
Feeder_0_Channel_1 | 5
Feeder_0_Channel_2 | 6
Feeder_0_Channel_3 | 7
Feeder_0_Channel_Count | 4
Feeder_0_Channel_AssociatedBusbar | 0
Feeder_1_Channel_0 | 8
Feeder_1_Channel_1 | 9
Feeder_1_Channel_2 | 10
Feeder_1_Channel_3 | 11
Feeder_1_Channel_Count | 4
Feeder_1_Channel_AssociatedBusbar | 0
Feeder_2_Channel_0 | 12
Feeder_2_Channel_1 | 13
Feeder_2_Channel_2 | 14
Feeder_2_Channel_3 | 15
Feeder_2_Channel_Count | 4
Feeder_2_Channel_AssociatedBusbar | 0
Feeder_3_Channel_0 | 16
Feeder_3_Channel_1 | 0
Feeder_3_Channel_2 | 0
Feeder_3_Channel_3 | 0
Feeder_3_Channel_Count | 1
Feeder_3_Channel_AssociatedBusbar | 0
Feeder_4_Channel_0 | 0
Feeder_4_Channel_1 | 0
Feeder_4_Channel_2 | 0
Feeder_4_Channel_3 | 0
Feeder_4_Channel_Count | 0
Feeder_4_Channel_AssociatedBusbar | 0

## DSPChannelMap
DSPChannelMap 1 | Channel_Number_DSP1 | DSPChannelMap 2 | Channel_Number_DSP2
0 | 1 | 0 | 1
1 | 2 | 1 | 2
2 | 3 | 2 | 3
3 | 4 | 3 | 13
4 | 5 | 4 | 14
5 | 6 | 5 | 15
6 | 7 | 6 | 16
7 | 8 | 7 | 0
8 | 9 | 8 | 0
9 | 10 | 9 | 0
10 | 11 | 10 | 0
11 | 12 | 11 | 0