## DeviceInfo
DeviceIP | CalibrationFileName
10.75.58.51 | sn409026540_6U_12I.cal

## Cabling
Channel | label | si_units | si_prefix | feeder_number | busbar | phase | tx_ratio_num | tx_ratio_den | usage | PMP_FR_Cabling | PMP_PQ_Cabling
Channel[0] | Channel 1 | VOLTS | UNIT | NO_FEEDER | BUSBAR1 | A/AB | 1 | 1 | BOTH | Cabling 2M3U3I3I3I | Cabling 2M3U3I3I3I
Channel[1] | Channel 2 | VOLTS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE
Channel[2] | Channel 3 | VOLTS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE
Channel[3] | Channel 4 | AMPS | UNIT | FEEDER1 | BUSBAR1 | A/AB | 1 | 1 | BOTH
Channel[4] | Channel 5 | AMPS | UNIT | FEEDER1 | BUSBAR1 | B/BC | 1 | 1 | BOTH |  |  | Channel 1 | VOLTS | NO_FEEDER | BUSBAR1 | A/AB | PQ
Channel[5] | Channel 6 | AMPS | UNIT | FEEDER1 | BUSBAR1 | C/CA | 1 | 1 | BOTH |  |  | Channel 2 | AMPS | FEEDER1 | BUSBAR2 | B/BC | FR
Channel[6] | Channel 7 | AMPS | UNIT | FEEDER2 | BUSBAR1 | A/AB | 1 | 1 | BOTH |  |  | Channel 3 |  | FEEDER2 | VBUSBAR1 | C/CA | BOTH
Channel[7] | Channel 8 | AMPS | UNIT | FEEDER2 | BUSBAR1 | B/BC | 1 | 1 | BOTH |  |  | Channel 4 |  | FEEDER3 | VBUSBAR2 | N | STANDALONE
Channel[8] | Channel 9 | AMPS | UNIT | FEEDER2 | BUSBAR1 | C/CA | 1 | 1 | BOTH |  |  | Channel 5 |  | FEEDER4 | NO_BUSBAR | NONE | STANDALONE_PQ
Channel[9] | Channel 10 | VOLTS | UNIT | NO_FEEDER | BUSBAR2 | A/AB | 1 | 1 | BOTH |  |  | Channel 6 |  | FEEDER5
Channel[10] | Channel 11 | VOLTS | UNIT | NO_FEEDER | BUSBAR2 | B/BC | 1 | 1 | BOTH |  |  | Channel 7
Channel[11] | Channel 12 | VOLTS | UNIT | NO_FEEDER | BUSBAR2 | C/CA | 1 | 1 | BOTH |  |  | Channel 8
Channel[12] | Channel 13 | AMPS | UNIT | FEEDER3 | BUSBAR2 | A/AB | 1 | 1 | BOTH |  |  | Channel 9
Channel[13] | Channel 14 | AMPS | UNIT | FEEDER3 | BUSBAR2 | B/BC | 1 | 1 | BOTH |  |  | Channel 10
Channel[14] | Channel 15 | AMPS | UNIT | FEEDER3 | BUSBAR2 | C/CA | 1 | 1 | BOTH |  |  | Channel 11
Channel[15] | Channel 16 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 12
Channel[16] | Channel 17 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 13
Channel[17] | Channel 18 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 14
Channel 15
Channel 16
Channel 17
Channel 18

## DSPChannelMap
DSPChannelMap 1 | Channel_Number_DSP1 | DSPChannelMap 2 | Channel_Number_DSP2
0 | 10 | 0 | 1
1 | 11 | 1 | 0
2 | 12 | 2 | 0
3 | 13 | 3 | 4
4 | 14 | 4 | 5
5 | 15 | 5 | 6
6 | 2 | 6 | 7
7 | 3 | 7 | 8
8 | 16 | 8 | 9
9 | 17 | 9 | 0
10 | 18 | 10 | 0
11 | 0 | 11 | 0