## DeviceInfo
DeviceIP | CalibrationFileName
10.75.58.51 | sn409026540_7U_11I.cal

## Cabling
Channel | label | si_units | si_prefix | feeder_number | busbar | phase | tx_ratio_num | tx_ratio_den | usage | PMP_FR_Cabling | PMP_PQ_Cabling
Channel[0] | Channel 1 | VOLTS | UNIT | NO_FEEDER | BUSBAR1 | A/AB | 1 | 1 | BOTH | Cabling 2M3U3I3I3I | Cabling 3U4U3I3I3I
Channel[1] | Channel 2 | VOLTS | UNIT | NO_FEEDER | BUSBAR1 | B/BC | 1 | 1 | BOTH
Channel[2] | Channel 3 | VOLTS | UNIT | NO_FEEDER | BUSBAR1 | C/CA | 1 | 1 | BOTH
Channel[3] | Channel 4 | VOLTS | UNIT | NO_FEEDER | BUSBAR2 | A/AB | 1 | 1 | BOTH
Channel[4] | Channel 5 | AMPS | UNIT | FEEDER1 | BUSBAR1 | A/AB | 1 | 1 | BOTH |  |  | Channel 1 | VOLTS | NO_FEEDER | BUSBAR1 | A/AB | PQ
Channel[5] | Channel 6 | AMPS | UNIT | FEEDER1 | BUSBAR1 | B/BC | 1 | 1 | BOTH |  |  | Channel 2 | AMPS | FEEDER1 | BUSBAR2 | B/BC | FR
Channel[6] | Channel 7 | AMPS | UNIT | FEEDER1 | BUSBAR1 | C/CA | 1 | 1 | BOTH |  |  | Channel 3 |  | FEEDER2 | VBUSBAR1 | C/CA | BOTH
Channel[7] | Channel 8 | AMPS | UNIT | FEEDER2 | BUSBAR1 | A/AB | 1 | 1 | BOTH |  |  | Channel 4 |  | FEEDER3 | VBUSBAR2 | N | STANDALONE
Channel[8] | Channel 9 | AMPS | UNIT | FEEDER2 | BUSBAR1 | B/BC | 1 | 1 | BOTH |  |  | Channel 5 |  | FEEDER4 | NO_BUSBAR | NONE | STANDALONE_PQ
Channel[9] | Channel 10 | VOLTS | UNIT | NO_FEEDER | BUSBAR2 | B/BC | 1 | 1 | BOTH |  |  | Channel 6 |  | FEEDER5
Channel[10] | Channel 11 | VOLTS | UNIT | NO_FEEDER | BUSBAR2 | C/CA | 1 | 1 | BOTH |  |  | Channel 7
Channel[11] | Channel 12 | VOLTS | UNIT | NO_FEEDER | BUSBAR2 | N | 1 | 1 | PQ |  |  | Channel 8
Channel[12] | Channel 13 | AMPS | UNIT | FEEDER2 | BUSBAR1 | C/CA | 1 | 1 | BOTH |  |  | Channel 9
Channel[13] | Channel 14 | AMPS | UNIT | FEEDER3 | BUSBAR2 | A/AB | 1 | 1 | BOTH |  |  | Channel 10
Channel[14] | Channel 15 | AMPS | UNIT | FEEDER3 | BUSBAR2 | B/BC | 1 | 1 | BOTH |  |  | Channel 11
Channel[15] | Channel 16 | AMPS | UNIT | FEEDER3 | BUSBAR2 | C/CA | 1 | 1 | BOTH |  |  | Channel 12
Channel[16] | Channel 17 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 13
Channel[17] | Channel 18 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 14
Channel 15
Channel 16
Channel 17
Channel 18

## StandaloneParameters
Quantity | Paramlist | CalcNo
F1RMSN | Calc_No_3 | 861
F1H1N | Calc_No_49 | 1016
F1H2N | Calc_No_50 | 1017
F1H3N | Calc_No_51 | 1018
F1H4N | Calc_No_52 | 1019
F1H5N | Calc_No_53 | 1020
F1H26N | Calc_No_54 | 1041
F1H27N | Calc_No_55 | 1042
F1H28N | Calc_No_56 | 1043
F1H29N | Calc_No_57 | 1044
F1H30N | Calc_No_58 | 1045
F1H46N | Calc_No_59 | 1061
F1H47N | Calc_No_60 | 1062
F1H48N | Calc_No_61 | 1063
F1H49N | Calc_No_62 | 1064
F1H50N | Calc_No_63 | 1065
F1IH1N | Calc_No_109 | 1213
F1IH2N | Calc_No_110 | 1214
F1IH3N | Calc_No_111 | 1215
F1IH4N | Calc_No_112 | 1216
F1IH5N | Calc_No_113 | 1217
F1IH26N | Calc_No_114 | 1238
F1IH27N | Calc_No_115 | 1239
F1IH28N | Calc_No_116 | 1240
F1IH29N | Calc_No_117 | 1241
F1IH30N | Calc_No_118 | 1242
F1IH45N | Calc_No_119 | 1257
F1IH46N | Calc_No_120 | 1258
F1IH47N | Calc_No_121 | 1259
F1IH48N | Calc_No_122 | 1260
F1IH49N | Calc_No_123 | 1261
F2RMSN | Calc_No_127 | 1276
F2H1N | Calc_No_173 | 1431
F2H2N | Calc_No_174 | 1432
F2H3N | Calc_No_175 | 1433
F2H4N | Calc_No_176 | 1434
F2H5N | Calc_No_177 | 1435
F2H26N | Calc_No_178 | 1456
F2H27N | Calc_No_179 | 1457
F2H28N | Calc_No_180 | 1458
F2H29N | Calc_No_181 | 1459
F2H30N | Calc_No_182 | 1460
F2H46N | Calc_No_183 | 1476
F2H47N | Calc_No_184 | 1477
F2H48N | Calc_No_185 | 1478
F2H49N | Calc_No_186 | 1479
F2H50N | Calc_No_187 | 1480
| Calc_No_436 | 16777215
Calc_No_437
Calc_No_438
Calc_No_439
Calc_No_440
Calc_No_441
Calc_No_442
Calc_No_443
Calc_No_444
Calc_No_445
Calc_No_446
Calc_No_447
Calc_No_448
Calc_No_449
Calc_No_450
Calc_No_451
Calc_No_452
Calc_No_453
Calc_No_454
Calc_No_455
Calc_No_456
Calc_No_457
Calc_No_458
Calc_No_459
Calc_No_460
Calc_No_461
Calc_No_462
Calc_No_463
Calc_No_464
Calc_No_465
Calc_No_466
Calc_No_467
Calc_No_468
Calc_No_469
Calc_No_470
Calc_No_471
Calc_No_472
Calc_No_473
Calc_No_474
Calc_No_475
Calc_No_476
Calc_No_477
Calc_No_478
Calc_No_479
Calc_No_480
Calc_No_481
Calc_No_482
Calc_No_483
Calc_No_484
Calc_No_485
Calc_No_486
Calc_No_487
Calc_No_488
Calc_No_489
Calc_No_490
Calc_No_491
Calc_No_492
Calc_No_493
Calc_No_494
Calc_No_495
Calc_No_496
Calc_No_497
Calc_No_498
Calc_No_499
Calc_No_500
Calc_No_501
Calc_No_502
Calc_No_503
Calc_No_504
Calc_No_505
Calc_No_506
Calc_No_507
Calc_No_508
Calc_No_509
Calc_No_510
Calc_No_511
Calc_No_512
Calc_No_513
Calc_No_514
Calc_No_515
Calc_No_516
Calc_No_517
Calc_No_518
Calc_No_519
Calc_No_520
Calc_No_521
Calc_No_522
Calc_No_523
Calc_No_524
Calc_No_525
Calc_No_526
Calc_No_527
Calc_No_528
Calc_No_529
Calc_No_530
Calc_No_531
Calc_No_532
Calc_No_533
Calc_No_534
Calc_No_535
Calc_No_536
Calc_No_537
Calc_No_538
Calc_No_539
Calc_No_540
Calc_No_541
Calc_No_542
Calc_No_543
Calc_No_544
Calc_No_545
Calc_No_546
Calc_No_547
Calc_No_548
Calc_No_549
Calc_No_550
Calc_No_551
Calc_No_552
Calc_No_553
Calc_No_554
Calc_No_555
Calc_No_556
Calc_No_557
Calc_No_558
Calc_No_559
Calc_No_560
Calc_No_561
Calc_No_562
Calc_No_563
Calc_No_564
Calc_No_565
Calc_No_566
Calc_No_567
Calc_No_568
Calc_No_569
Calc_No_570
Calc_No_571
Calc_No_572
Calc_No_573
Calc_No_574
Calc_No_575
Calc_No_576
Calc_No_577
Calc_No_578
Calc_No_579
Calc_No_580
Calc_No_581
Calc_No_582
Calc_No_583
Calc_No_584
Calc_No_585
Calc_No_586
Calc_No_587
Calc_No_588
Calc_No_589
Calc_No_590
Calc_No_591
Calc_No_592
Calc_No_593
Calc_No_594
Calc_No_595
Calc_No_596
Calc_No_597
Calc_No_598
Calc_No_599
Calc_No_600
Calc_No_601
Calc_No_602
Calc_No_603
Calc_No_604
Calc_No_605
Calc_No_606
Calc_No_607
Calc_No_608
Calc_No_609
Calc_No_610
Calc_No_611
Calc_No_612
Calc_No_613
Calc_No_614
Calc_No_615
Calc_No_616
Calc_No_617
Calc_No_618
Calc_No_619
Calc_No_620
Calc_No_621
Calc_No_622
Calc_No_623
Calc_No_624
Calc_No_625
Calc_No_626
Calc_No_627
Calc_No_628
Calc_No_629
Calc_No_630
Calc_No_631
Calc_No_632
Calc_No_633
Calc_No_634
Calc_No_635
Calc_No_636
Calc_No_637
Calc_No_638
Calc_No_639
Calc_No_640
Calc_No_641
Calc_No_642
Calc_No_643
Calc_No_644
Calc_No_645
Calc_No_646
Calc_No_647
Calc_No_648
Calc_No_649
Calc_No_650
Calc_No_651
Calc_No_652
Calc_No_653
Calc_No_654
Calc_No_655
Calc_No_656
Calc_No_657
Calc_No_658
Calc_No_659
Calc_No_660
Calc_No_661
Calc_No_662
Calc_No_663
Calc_No_664
Calc_No_665
Calc_No_666
Calc_No_667
Calc_No_668
Calc_No_669
Calc_No_670
Calc_No_671
Calc_No_672
Calc_No_673
Calc_No_674
Calc_No_675
Calc_No_676
Calc_No_677
Calc_No_678
Calc_No_679
Calc_No_680
Calc_No_681
Calc_No_682
Calc_No_683
Calc_No_684
Calc_No_685
Calc_No_686
Calc_No_687
Calc_No_688
Calc_No_689
Calc_No_690
Calc_No_691
Calc_No_692
Calc_No_693
Calc_No_694
Calc_No_695
Calc_No_696
Calc_No_697
Calc_No_698
Calc_No_699
Calc_No_700
Calc_No_701
Calc_No_702
Calc_No_703
Calc_No_704
Calc_No_705
Calc_No_706
Calc_No_707
Calc_No_708
Calc_No_709
Calc_No_710
Calc_No_711
Calc_No_712
Calc_No_713
Calc_No_714
Calc_No_715
Calc_No_716
Calc_No_717
Calc_No_718
Calc_No_719
Calc_No_720
Calc_No_721
Calc_No_722
Calc_No_723
Calc_No_724
Calc_No_725
Calc_No_726
Calc_No_727
Calc_No_728
Calc_No_729
Calc_No_730
Calc_No_731
Calc_No_732
Calc_No_733
Calc_No_734
Calc_No_735
Calc_No_736
Calc_No_737
Calc_No_738
Calc_No_739
Calc_No_740
Calc_No_741
Calc_No_742
Calc_No_743
Calc_No_744
Calc_No_745
Calc_No_746
Calc_No_747
Calc_No_748
Calc_No_749
Calc_No_750
Calc_No_751
Calc_No_752
Calc_No_753
Calc_No_754
Calc_No_755
Calc_No_756
Calc_No_757
Calc_No_758
Calc_No_759
Calc_No_760
Calc_No_761
Calc_No_762
Calc_No_763
Calc_No_764
Calc_No_765
Calc_No_766
Calc_No_767
Calc_No_768
Calc_No_769
Calc_No_770
Calc_No_771
Calc_No_772
Calc_No_773
Calc_No_774
Calc_No_775
Calc_No_776
Calc_No_777
Calc_No_778
Calc_No_779
Calc_No_780
Calc_No_781
Calc_No_782
Calc_No_783
Calc_No_784
Calc_No_785
Calc_No_786
Calc_No_787
Calc_No_788
Calc_No_789
Calc_No_790
Calc_No_791
Calc_No_792
Calc_No_793
Calc_No_794
Calc_No_795
Calc_No_796
Calc_No_797
Calc_No_798
Calc_No_799
Calc_No_800
Calc_No_801
Calc_No_802
Calc_No_803
Calc_No_804
Calc_No_805
Calc_No_806
Calc_No_807
Calc_No_808
Calc_No_809
Calc_No_810
Calc_No_811
Calc_No_812
Calc_No_813
Calc_No_814
Calc_No_815
Calc_No_816
Calc_No_817
Calc_No_818
Calc_No_819
Calc_No_820
Calc_No_821
Calc_No_822
Calc_No_823
Calc_No_824
Calc_No_825
Calc_No_826
Calc_No_827
Calc_No_828
Calc_No_829
Calc_No_830
Calc_No_831
Calc_No_832
Calc_No_833
Calc_No_834
Calc_No_835
Calc_No_836
Calc_No_837
Calc_No_838
Calc_No_839
Calc_No_840
Calc_No_841
Calc_No_842
Calc_No_843
Calc_No_844
Calc_No_845
Calc_No_846
Calc_No_847
Calc_No_848
Calc_No_849
Calc_No_850
Calc_No_851
Calc_No_852
Calc_No_853
Calc_No_854
Calc_No_855
Calc_No_856
Calc_No_857
Calc_No_858
Calc_No_859
Calc_No_860
Calc_No_861
Calc_No_862
Calc_No_863
Calc_No_864
Calc_No_865
Calc_No_866
Calc_No_867
Calc_No_868
Calc_No_869
Calc_No_870
Calc_No_871
Calc_No_872
Calc_No_873
Calc_No_874
Calc_No_875
Calc_No_876
Calc_No_877
Calc_No_878
Calc_No_879
Calc_No_880
Calc_No_881
Calc_No_882
Calc_No_883
Calc_No_884
Calc_No_885
Calc_No_886
Calc_No_887
Calc_No_888
Calc_No_889
Calc_No_890
Calc_No_891
Calc_No_892
Calc_No_893
Calc_No_894
Calc_No_895
Calc_No_896
Calc_No_897
Calc_No_898
Calc_No_899
Calc_No_900
Calc_No_901
Calc_No_902
Calc_No_903
Calc_No_904
Calc_No_905
Calc_No_906
Calc_No_907
Calc_No_908
Calc_No_909
Calc_No_910
Calc_No_911
Calc_No_912
Calc_No_913
Calc_No_914
Calc_No_915
Calc_No_916
Calc_No_917
Calc_No_918
Calc_No_919
Calc_No_920
Calc_No_921
Calc_No_922
Calc_No_923
Calc_No_924
Calc_No_925
Calc_No_926
Calc_No_927
Calc_No_928
Calc_No_929
Calc_No_930
Calc_No_931
Calc_No_932
Calc_No_933
Calc_No_934
Calc_No_935
Calc_No_936
Calc_No_937
Calc_No_938
Calc_No_939
Calc_No_940
Calc_No_941
Calc_No_942
Calc_No_943
Calc_No_944
Calc_No_945
Calc_No_946
Calc_No_947
Calc_No_948
Calc_No_949
Calc_No_950
Calc_No_951
Calc_No_952
Calc_No_953
Calc_No_954
Calc_No_955
Calc_No_956
Calc_No_957
Calc_No_958
Calc_No_959
Calc_No_960
Calc_No_961
Calc_No_962
Calc_No_963
Calc_No_964
Calc_No_965
Calc_No_966
Calc_No_967
Calc_No_968
Calc_No_969
Calc_No_970
Calc_No_971
Calc_No_972
Calc_No_973
Calc_No_974
Calc_No_975
Calc_No_976
Calc_No_977
Calc_No_978
Calc_No_979
Calc_No_980
Calc_No_981
Calc_No_982
Calc_No_983
Calc_No_984
Calc_No_985
Calc_No_986
Calc_No_987
Calc_No_988
Calc_No_989
Calc_No_990
Calc_No_991
Calc_No_992
Calc_No_993
Calc_No_994
Calc_No_995
Calc_No_996
Calc_No_997
Calc_No_998
Calc_No_999
Calc_No_1000
Calc_No_1001
Calc_No_1002
Calc_No_1003
Calc_No_1004
Calc_No_1005
Calc_No_1006
Calc_No_1007
Calc_No_1008
Calc_No_1009
Calc_No_1010
Calc_No_1011
Calc_No_1012
Calc_No_1013
Calc_No_1014
Calc_No_1015
Calc_No_1016
Calc_No_1017
Calc_No_1018
Calc_No_1019
Calc_No_1020
Calc_No_1021
Calc_No_1022
Calc_No_1023
Calc_No_1024
Calc_No_1025
Calc_No_1026
Calc_No_1027
Calc_No_1028
Calc_No_1029
Calc_No_1030
Calc_No_1031
Calc_No_1032
Calc_No_1033
Calc_No_1034
Calc_No_1035
Calc_No_1036
Calc_No_1037
Calc_No_1038
Calc_No_1039
Calc_No_1040
Calc_No_1041
Calc_No_1042
Calc_No_1043
Calc_No_1044
Calc_No_1045
Calc_No_1046
Calc_No_1047
Calc_No_1048
Calc_No_1049
Calc_No_1050
Calc_No_1051
Calc_No_1052
Calc_No_1053
Calc_No_1054
Calc_No_1055
Calc_No_1056
Calc_No_1057
Calc_No_1058
Calc_No_1059
Calc_No_1060
Calc_No_1061
Calc_No_1062
Calc_No_1063
Calc_No_1064
Calc_No_1065
Calc_No_1066
Calc_No_1067

## DSPFeederMap
DSP_Feeder_Map | Values
DSP_1_Feeder_Map_0 | 0
DSP_1_Feeder_Map_1 | 1
DSP_1_Feeder_Map_2 | -1
DSP_2_Feeder_Map_0 | 2
DSP_2_Feeder_Map_1 | -1
DSP_2_Feeder_Map_2 | -1

## BusbarFeederMap
Busbar_Channel_Map | Values
Busbar_0_Channel_0 | 1
Busbar_0_Channel_1 | 2
Busbar_0_Channel_2 | 3
Busbar_0_Channel_3 | 0
Busbar_0_Channel_Count | 3
Busbar_1_Channel_0 | 4
Busbar_1_Channel_1 | 10
Busbar_1_Channel_2 | 11
Busbar_1_Channel_3 | 12
Busbar_1_Channel_Count | 4
Feeder_0_Channel_0 | 5
Feeder_0_Channel_1 | 6
Feeder_0_Channel_2 | 7
Feeder_0_Channel_3 | 17
Feeder_0_Channel_Count | 4
Feeder_0_Channel_AssociatedBusbar | 1
Feeder_1_Channel_0 | 8
Feeder_1_Channel_1 | 9
Feeder_1_Channel_2 | 13
Feeder_1_Channel_3 | 18
Feeder_1_Channel_Count | 4
Feeder_1_Channel_AssociatedBusbar | 1
Feeder_2_Channel_0 | 14
Feeder_2_Channel_1 | 15
Feeder_2_Channel_2 | 16
Feeder_2_Channel_3 | 0
Feeder_2_Channel_Count | 3
Feeder_2_Channel_AssociatedBusbar | 2
Feeder_3_Channel_0 | 0
Feeder_3_Channel_1 | 0
Feeder_3_Channel_2 | 0
Feeder_3_Channel_3 | 0
Feeder_3_Channel_Count | 0
Feeder_3_Channel_AssociatedBusbar | 0
Feeder_4_Channel_0 | 0
Feeder_4_Channel_1 | 0
Feeder_4_Channel_2 | 0
Feeder_4_Channel_3 | 0
Feeder_4_Channel_Count | 0
Feeder_4_Channel_AssociatedBusbar | 0

## DSPChannelMap
DSPChannelMap 1 | Channel_Number_DSP1 | DSPChannelMap 2 | Channel_Number_DSP2
0 | 1 | 0 | 4
1 | 2 | 1 | 10
2 | 3 | 2 | 11
3 | 5 | 3 | 12
4 | 6 | 4 | 14
5 | 7 | 5 | 15
6 | 8 | 6 | 16
7 | 9 | 7 | 0
8 | 13 | 8 | 0
9 | 17 | 9 | 0
10 | 18 | 10 | 0
11 | 0 | 11 | 0