## DeviceInfo
DeviceIP | CalibrationFileName | DeviceType | DeviceName
10.75.58.51 | sn409026540_3U_15I.cal | IDM+18 | IND_DAU_51

## Cabling
Channel | label | si_units | si_prefix | feeder_number | busbar | phase | tx_ratio_num | tx_ratio_den | usage | PMP_FR_Cabling | PMP_PQ_Cabling
Channel[0] | Channel 1 | VOLTS | UNIT | NO_FEEDER | BUSBAR1 | A/AB | 1 | 1 | PQ | Cabling FRNOCIRCUIT | Cabling 3U
Channel[1] | Channel 2 | VOLTS | UNIT | NO_FEEDER | BUSBAR1 | B/BC | 1 | 1 | PQ
Channel[2] | Channel 3 | VOLTS | UNIT | NO_FEEDER | BUSBAR1 | C/CA | 1 | 1 | PQ
Channel[3] | Channel 4 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE
Channel[4] | Channel 5 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 1 | VOLTS | NO_FEEDER | BUSBAR1 | A/AB | PQ
Channel[5] | Channel 6 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 2 | AMPS | FEEDER1 | BUSBAR2 | B/BC | FR
Channel[6] | Channel 7 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 3 |  | FEEDER2 | VBUSBAR1 | C/CA | BOTH
Channel[7] | Channel 8 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 4 |  | FEEDER3 | VBUSBAR2 | N | STANDALONE
Channel[8] | Channel 9 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 5 |  | FEEDER4 | NO_BUSBAR | NONE | STANDALONE_PQ
Channel[9] | Channel 10 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 6 |  | FEEDER5
Channel[10] | Channel 11 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 7
Channel[11] | Channel 12 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 8
Channel[12] | Channel 13 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 9
Channel[13] | Channel 14 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 10
Channel[14] | Channel 15 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 11
Channel[15] | Channel 16 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 12
Channel[16] | Channel 17 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 13
Channel[17] | Channel 18 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 14
Channel 15
Channel 16
Channel 17
Channel 18

## DSPChannelMap
DSPChannelMap 1 | Channel_Number_DSP1 | DSPChannelMap 2 | Channel_Number_DSP2
0 | 1 | 0 | 1
1 | 2 | 1 | 2
2 | 3 | 2 | 3
3 | 4 | 3 | 13
4 | 5 | 4 | 14
5 | 6 | 5 | 15
6 | 7 | 6 | 16
7 | 8 | 7 | 17
8 | 9 | 8 | 18
9 | 10 | 9 | 0
10 | 11 | 10 | 0
11 | 12 | 11 | 0

## StandaloneParameters
Quantity | Paramlist | CalcNo
F1RMSA | Calc_No_0 | 858
F1RMSB | Calc_No_1 | 859
F1RMSC | Calc_No_2 | 860
F1H1A | Calc_No_3 | 866
F1H2A | Calc_No_4 | 867
F1H3A | Calc_No_5 | 868
F1H4A | Calc_No_6 | 869
F1H5A | Calc_No_7 | 870
F1H26A | Calc_No_8 | 891
F1H27A | Calc_No_9 | 892
F1H28A | Calc_No_10 | 893
F1H29A | Calc_No_11 | 894
F1H30A | Calc_No_12 | 895
F1H46A | Calc_No_13 | 911
F1H47A | Calc_No_14 | 912
F1H48A | Calc_No_15 | 913
F1H49A | Calc_No_16 | 914
F1H50A | Calc_No_17 | 915
F1H1B | Calc_No_18 | 916
F1H2B | Calc_No_19 | 917
F1H3B | Calc_No_20 | 918
F1H4B | Calc_No_21 | 919
F1H5B | Calc_No_22 | 920
F1H26B | Calc_No_23 | 941
F1H27B | Calc_No_24 | 942
F1H28B | Calc_No_25 | 943
F1H29B | Calc_No_26 | 944
F1H30B | Calc_No_27 | 945
F1H46B | Calc_No_28 | 961
F1H47B | Calc_No_29 | 962
F1H48B | Calc_No_30 | 963
F1H49B | Calc_No_31 | 964
F1H50B | Calc_No_32 | 965
F1H1C | Calc_No_33 | 966
F1H2C | Calc_No_34 | 967
F1H3C | Calc_No_35 | 968
F1H4C | Calc_No_36 | 969
F1H5C | Calc_No_37 | 970
F1H26C | Calc_No_38 | 991
F1H27C | Calc_No_39 | 992
F1H28C | Calc_No_40 | 993
F1H29C | Calc_No_41 | 994
F1H30C | Calc_No_42 | 995
F1H46C | Calc_No_43 | 1011
F1H47C | Calc_No_44 | 1012
F1H48C | Calc_No_45 | 1013
F1H49C | Calc_No_46 | 1014
F1H50C | Calc_No_47 | 1015
F1IH1A | Calc_No_48 | 1066
F1IH2A | Calc_No_49 | 1067
F1IH3A | Calc_No_50 | 1068
F1IH4A | Calc_No_51 | 1069
F1IH5A | Calc_No_52 | 1070
F1IH26A | Calc_No_53 | 1091
F1IH27A | Calc_No_54 | 1092
F1IH28A | Calc_No_55 | 1093
F1IH29A | Calc_No_56 | 1094
F1IH30A | Calc_No_57 | 1095
F1IH45A | Calc_No_58 | 1110
F1IH46A | Calc_No_59 | 1111
F1IH47A | Calc_No_60 | 1112
F1IH48A | Calc_No_61 | 1113
F1IH49A | Calc_No_62 | 1114
F1IH1B | Calc_No_63 | 1115
F1IH2B | Calc_No_64 | 1116
F1IH3B | Calc_No_65 | 1117
F1IH4B | Calc_No_66 | 1118
F1IH5B | Calc_No_67 | 1119
F1IH26B | Calc_No_68 | 1140
F1IH27B | Calc_No_69 | 1141
F1IH28B | Calc_No_70 | 1142
F1IH29B | Calc_No_71 | 1143
F1IH30B | Calc_No_72 | 1144
F1IH45B | Calc_No_73 | 1159
F1IH46B | Calc_No_74 | 1160
F1IH47B | Calc_No_75 | 1161
F1IH48B | Calc_No_76 | 1162
F1IH49B | Calc_No_77 | 1163
F1IH1C | Calc_No_78 | 1164
F1IH2C | Calc_No_79 | 1165
F1IH3C | Calc_No_80 | 1166
F1IH4C | Calc_No_81 | 1167
F1IH5C | Calc_No_82 | 1168
F1IH26C | Calc_No_83 | 1189
F1IH27C | Calc_No_84 | 1190
F1IH28C | Calc_No_85 | 1191
F1IH29C | Calc_No_86 | 1192
F1IH30C | Calc_No_87 | 1193
F1IH45C | Calc_No_88 | 1208
F1IH46C | Calc_No_89 | 1209
F1IH47C | Calc_No_90 | 1210
F1IH48C | Calc_No_91 | 1211
F1IH49C | Calc_No_92 | 1212
F2RMSA | Calc_No_93 | 1273
F2RMSB | Calc_No_94 | 1274
F2RMSC | Calc_No_95 | 1275
F2H1A | Calc_No_96 | 1281
F2H2A | Calc_No_97 | 1282
F2H3A | Calc_No_98 | 1283
F2H4A | Calc_No_99 | 1284
F2H5A | Calc_No_100 | 1285
F2H26A | Calc_No_101 | 1306
F2H27A | Calc_No_102 | 1307
F2H28A | Calc_No_103 | 1308
F2H29A | Calc_No_104 | 1309
F2H30A | Calc_No_105 | 1310
F2H46A | Calc_No_106 | 1326
F2H47A | Calc_No_107 | 1327
F2H48A | Calc_No_108 | 1328
F2H49A | Calc_No_109 | 1329
F2H50A | Calc_No_110 | 1330
F2H1B | Calc_No_111 | 1331
F2H2B | Calc_No_112 | 1332
F2H3B | Calc_No_113 | 1333
F2H4B | Calc_No_114 | 1334
F2H5B | Calc_No_115 | 1335
F2H26B | Calc_No_116 | 1356
F2H27B | Calc_No_117 | 1357
F2H28B | Calc_No_118 | 1358
F2H29B | Calc_No_119 | 1359
F2H30B | Calc_No_120 | 1360
F2H46B | Calc_No_121 | 1376
F2H47B | Calc_No_122 | 1377
F2H48B | Calc_No_123 | 1378
F2H49B | Calc_No_124 | 1379
F2H50B | Calc_No_125 | 1380
F2H1C | Calc_No_126 | 1381
F2H2C | Calc_No_127 | 1382
F2H3C | Calc_No_128 | 1383
F2H4C | Calc_No_129 | 1384
F2H5C | Calc_No_130 | 1385
F2H26C | Calc_No_131 | 1406
F2H27C | Calc_No_132 | 1407
F2H28C | Calc_No_133 | 1408
F2H29C | Calc_No_134 | 1409
F2H30C | Calc_No_135 | 1410
F2H46C | Calc_No_136 | 1426
F2H47C | Calc_No_137 | 1427
F2H48C | Calc_No_138 | 1428
F2H49C | Calc_No_139 | 1429
F2H50C | Calc_No_140 | 1430
F2IH1A | Calc_No_141 | 1481
F2IH2A | Calc_No_142 | 1482
F2IH3A | Calc_No_143 | 1483
F2IH4A | Calc_No_144 | 1484
F2IH5A | Calc_No_145 | 1485
F2IH26A | Calc_No_146 | 1506
F2IH27A | Calc_No_147 | 1507
F2IH28A | Calc_No_148 | 1508
F2IH29A | Calc_No_149 | 1509
F2IH30A | Calc_No_150 | 1510
F2IH45A | Calc_No_151 | 1525
F2IH46A | Calc_No_152 | 1526
F2IH47A | Calc_No_153 | 1527
F2IH48A | Calc_No_154 | 1528
F2IH49A | Calc_No_155 | 1529
F2IH1B | Calc_No_156 | 1530
F2IH2B | Calc_No_157 | 1531
F2IH3B | Calc_No_158 | 1532
F2IH4B | Calc_No_159 | 1533
F2IH5B | Calc_No_160 | 1534
F2IH26B | Calc_No_161 | 1555
F2IH27B | Calc_No_162 | 1556
F2IH28B | Calc_No_163 | 1557
F2IH29B | Calc_No_164 | 1558
F2IH30B | Calc_No_165 | 1559
F2IH45B | Calc_No_166 | 1574
F2IH46B | Calc_No_167 | 1575
F2IH47B | Calc_No_168 | 1576
F2IH48B | Calc_No_169 | 1577
F2IH49B | Calc_No_170 | 1578
F2IH1C | Calc_No_171 | 1579
F2IH2C | Calc_No_172 | 1580
F2IH3C | Calc_No_173 | 1581
F2IH4C | Calc_No_174 | 1582
F2IH5C | Calc_No_175 | 1583
F2IH26C | Calc_No_176 | 1604
F2IH27C | Calc_No_177 | 1605
F2IH28C | Calc_No_178 | 1606
F2IH29C | Calc_No_179 | 1607
F2IH30C | Calc_No_180 | 1608
F2IH45C | Calc_No_181 | 1623
F2IH46C | Calc_No_182 | 1624
F2IH47C | Calc_No_183 | 1625
F2IH48C | Calc_No_184 | 1626
F2IH49C | Calc_No_185 | 1627
F3RMSA | Calc_No_186 | 1688
F3RMSB | Calc_No_187 | 1689
F3RMSC | Calc_No_188 | 1690
F3H1A | Calc_No_189 | 1696
F3H2A | Calc_No_190 | 1697
F3H3A | Calc_No_191 | 1698
F3H4A | Calc_No_192 | 1699
F3H5A | Calc_No_193 | 1700
F3H26A | Calc_No_194 | 1721
F3H27A | Calc_No_195 | 1722
F3H28A | Calc_No_196 | 1723
F3H29A | Calc_No_197 | 1724
F3H30A | Calc_No_198 | 1725
F3H46A | Calc_No_199 | 1741
F3H47A | Calc_No_200 | 1742
F3H48A | Calc_No_201 | 1743
F3H49A | Calc_No_202 | 1744
F3H50A | Calc_No_203 | 1745
F3H1B | Calc_No_204 | 1746
F3H2B | Calc_No_205 | 1747
F3H3B | Calc_No_206 | 1748
F3H4B | Calc_No_207 | 1749
F3H5B | Calc_No_208 | 1750
F3H26B | Calc_No_209 | 1771
F3H27B | Calc_No_210 | 1772
F3H28B | Calc_No_211 | 1773
F3H29B | Calc_No_212 | 1774
F3H30B | Calc_No_213 | 1775
F3H46B | Calc_No_214 | 1791
F3H47B | Calc_No_215 | 1792
F3H48B | Calc_No_216 | 1793
F3H49B | Calc_No_217 | 1794
F3H50B | Calc_No_218 | 1795
F3H1C | Calc_No_219 | 1796
F3H2C | Calc_No_220 | 1797
F3H3C | Calc_No_221 | 1798
F3H4C | Calc_No_222 | 1799
F3H5C | Calc_No_223 | 1800
F3H26C | Calc_No_224 | 1821
F3H27C | Calc_No_225 | 1822
F3H28C | Calc_No_226 | 1823
F3H29C | Calc_No_227 | 1824
F3H30C | Calc_No_228 | 1825
F3H46C | Calc_No_229 | 1841
F3H47C | Calc_No_230 | 1842
F3H48C | Calc_No_231 | 1843
F3H49C | Calc_No_232 | 1844
F3H50C | Calc_No_233 | 1845
F3IH1A | Calc_No_234 | 1896
F3IH2A | Calc_No_235 | 1897
F3IH3A | Calc_No_236 | 1898
F3IH4A | Calc_No_237 | 1899
F3IH5A | Calc_No_238 | 1900
F3IH26A | Calc_No_239 | 1921
F3IH27A | Calc_No_240 | 1922
F3IH28A | Calc_No_241 | 1923
F3IH29A | Calc_No_242 | 1924
F3IH30A | Calc_No_243 | 1925
F3IH45A | Calc_No_244 | 1940
F3IH46A | Calc_No_245 | 1941
F3IH47A | Calc_No_246 | 1942
F3IH48A | Calc_No_247 | 1943
F3IH49A | Calc_No_248 | 1944
F3IH1B | Calc_No_249 | 1945
F3IH2B | Calc_No_250 | 1946
F3IH3B | Calc_No_251 | 1947
F3IH4B | Calc_No_252 | 1948
F3IH5B | Calc_No_253 | 1949
F3IH26B | Calc_No_254 | 1970
F3IH27B | Calc_No_255 | 1971
F3IH28B | Calc_No_256 | 1972
F3IH29B | Calc_No_257 | 1973
F3IH30B | Calc_No_258 | 1974
F3IH45B | Calc_No_259 | 1989
F3IH46B | Calc_No_260 | 1990
F3IH47B | Calc_No_261 | 1991
F3IH48B | Calc_No_262 | 1992
F3IH49B | Calc_No_263 | 1993
F3IH1C | Calc_No_264 | 1994
F3IH2C | Calc_No_265 | 1995
F3IH3C | Calc_No_266 | 1996
F3IH4C | Calc_No_267 | 1997
F3IH5C | Calc_No_268 | 1998
F3IH26C | Calc_No_269 | 2019
F3IH27C | Calc_No_270 | 2020
F3IH28C | Calc_No_271 | 2021
F3IH29C | Calc_No_272 | 2022
F3IH30C | Calc_No_273 | 2023
F3IH45C | Calc_No_274 | 2038
F3IH46C | Calc_No_275 | 2039
F3IH47C | Calc_No_276 | 2040
F3IH48C | Calc_No_277 | 2041
F3IH49C | Calc_No_278 | 2042
F4RMSA | Calc_No_279 | 2103
F4RMSB | Calc_No_280 | 2104
F4RMSC | Calc_No_281 | 2105
F4H1A | Calc_No_282 | 2110
F4H2A | Calc_No_283 | 2111
F4H3A | Calc_No_284 | 2112
F4H4A | Calc_No_285 | 2113
F4H5A | Calc_No_286 | 2114
F4H26A | Calc_No_287 | 2135
F4H27A | Calc_No_288 | 2136
F4H28A | Calc_No_289 | 2137
F4H29A | Calc_No_290 | 2138
F4H30A | Calc_No_291 | 2139
F4H46A | Calc_No_292 | 2155
F4H47A | Calc_No_293 | 2156
F4H48A | Calc_No_294 | 2157
F4H49A | Calc_No_295 | 2158
F4H50A | Calc_No_296 | 2159
F4H1B | Calc_No_297 | 2160
F4H2B | Calc_No_298 | 2161
F4H3B | Calc_No_299 | 2162
F4H4B | Calc_No_300 | 2163
F4H5B | Calc_No_301 | 2164
F4H26B | Calc_No_302 | 2185
F4H27B | Calc_No_303 | 2186
F4H28B | Calc_No_304 | 2187
F4H29B | Calc_No_305 | 2188
F4H30B | Calc_No_306 | 2189
F4H46B | Calc_No_307 | 2205
F4H47B | Calc_No_308 | 2206
F4H48B | Calc_No_309 | 2207
F4H49B | Calc_No_310 | 2208
F4H50B | Calc_No_311 | 2209
F4H1C | Calc_No_312 | 2210
F4H2C | Calc_No_313 | 2211
F4H3C | Calc_No_314 | 2212
F4H4C | Calc_No_315 | 2213
F4H5C | Calc_No_316 | 2214
F4H26C | Calc_No_317 | 2235
F4H27C | Calc_No_318 | 2236
F4H28C | Calc_No_319 | 2237
F4H29C | Calc_No_320 | 2238
F4H30C | Calc_No_321 | 2239
F4H46C | Calc_No_322 | 2255
F4H47C | Calc_No_323 | 2256
F4H48C | Calc_No_324 | 2257
F4H49C | Calc_No_325 | 2258
F4H50C | Calc_No_326 | 2259
F4IH1A | Calc_No_327 | 2260
F4IH2A | Calc_No_328 | 2261
F4IH3A | Calc_No_329 | 2262
F4IH4A | Calc_No_330 | 2263
F4IH5A | Calc_No_331 | 2264
F4IH26A | Calc_No_332 | 2285
F4IH27A | Calc_No_333 | 2286
F4IH28A | Calc_No_334 | 2287
F4IH29A | Calc_No_335 | 2288
F4IH30A | Calc_No_336 | 2289
F4IH45A | Calc_No_337 | 2304
F4IH46A | Calc_No_338 | 2305
F4IH47A | Calc_No_339 | 2306
F4IH48A | Calc_No_340 | 2307
F4IH49A | Calc_No_341 | 2308
F4IH1B | Calc_No_342 | 2309
F4IH2B | Calc_No_343 | 2310
F4IH3B | Calc_No_344 | 2311
F4IH4B | Calc_No_345 | 2312
F4IH5B | Calc_No_346 | 2313
F4IH26B | Calc_No_347 | 2334
F4IH27B | Calc_No_348 | 2335
F4IH28B | Calc_No_349 | 2336
F4IH29B | Calc_No_350 | 2337
F4IH30B | Calc_No_351 | 2338
F4IH45B | Calc_No_352 | 2353
F4IH46B | Calc_No_353 | 2354
F4IH47B | Calc_No_354 | 2355
F4IH48B | Calc_No_355 | 2356
F4IH49B | Calc_No_356 | 2357
F4IH1C | Calc_No_357 | 2358
F4IH2C | Calc_No_358 | 2359
F4IH3C | Calc_No_359 | 2360
F4IH4C | Calc_No_360 | 2361
F4IH5C | Calc_No_361 | 2362
F4IH26C | Calc_No_362 | 2383
F4IH27C | Calc_No_363 | 2384
F4IH28C | Calc_No_364 | 2385
F4IH29C | Calc_No_365 | 2386
F4IH30C | Calc_No_366 | 2387
F4IH45C | Calc_No_367 | 2402
F4IH46C | Calc_No_368 | 2403
F4IH47C | Calc_No_369 | 2404
F4IH48C | Calc_No_370 | 2405
F4IH49C | Calc_No_371 | 2406
F5RMSA | Calc_No_372 | 2416
F5RMSB | Calc_No_373 | 2417
F5RMSC | Calc_No_374 | 2418
F5H1A | Calc_No_375 | 2423
F5H2A | Calc_No_376 | 2424
F5H3A | Calc_No_377 | 2425
F5H4A | Calc_No_378 | 2426
F5H5A | Calc_No_379 | 2427
F5H26A | Calc_No_380 | 2448
F5H27A | Calc_No_381 | 2449
F5H28A | Calc_No_382 | 2450
F5H29A | Calc_No_383 | 2451
F5H30A | Calc_No_384 | 2452
F5H46A | Calc_No_385 | 2468
F5H47A | Calc_No_386 | 2469
F5H48A | Calc_No_387 | 2470
F5H49A | Calc_No_388 | 2471
F5H50A | Calc_No_389 | 2472
F5H1B | Calc_No_390 | 2473
F5H2B | Calc_No_391 | 2474
F5H3B | Calc_No_392 | 2475
F5H4B | Calc_No_393 | 2476
F5H5B | Calc_No_394 | 2477
F5H26B | Calc_No_395 | 2498
F5H27B | Calc_No_396 | 2499
F5H28B | Calc_No_397 | 2500
F5H29B | Calc_No_398 | 2501
F5H30B | Calc_No_399 | 2502
F5H46B | Calc_No_400 | 2518
F5H47B | Calc_No_401 | 2519
F5H48B | Calc_No_402 | 2520
F5H49B | Calc_No_403 | 2521
F5H50B | Calc_No_404 | 2522
F5H1C | Calc_No_405 | 2523
F5H2C | Calc_No_406 | 2524
F5H3C | Calc_No_407 | 2525
F5H4C | Calc_No_408 | 2526
F5H5C | Calc_No_409 | 2527
F5H26C | Calc_No_410 | 2548
F5H27C | Calc_No_411 | 2549
F5H28C | Calc_No_412 | 2550
F5H29C | Calc_No_413 | 2551
F5H30C | Calc_No_414 | 2552
F5H46C | Calc_No_415 | 2568
F5H47C | Calc_No_416 | 2569
F5H48C | Calc_No_417 | 2570
F5H49C | Calc_No_418 | 2571
F5H50C | Calc_No_419 | 2572
F5IH1A | Calc_No_420 | 2573
F5IH2A | Calc_No_421 | 2574
F5IH3A | Calc_No_422 | 2575
F5IH4A | Calc_No_423 | 2576
F5IH5A | Calc_No_424 | 2577
F5IH26A | Calc_No_425 | 2598
F5IH27A | Calc_No_426 | 2599
F5IH28A | Calc_No_427 | 2600
F5IH29A | Calc_No_428 | 2601
F5IH30A | Calc_No_429 | 2602
F5IH45A | Calc_No_430 | 2617
F5IH46A | Calc_No_431 | 2618
F5IH47A | Calc_No_432 | 2619
F5IH48A | Calc_No_433 | 2620
F5IH49A | Calc_No_434 | 2621
F5IH1B | Calc_No_435 | 2622
F5IH2B | Calc_No_436 | 2623
F5IH3B | Calc_No_437 | 2624
F5IH4B | Calc_No_438 | 2625
F5IH5B | Calc_No_439 | 2626
F5IH26B | Calc_No_440 | 2647
F5IH27B | Calc_No_441 | 2648
F5IH28B | Calc_No_442 | 2649
F5IH29B | Calc_No_443 | 2650
F5IH30B | Calc_No_444 | 2651
F5IH45B | Calc_No_445 | 2666
F5IH46B | Calc_No_446 | 2667
F5IH47B | Calc_No_447 | 2668
F5IH48B | Calc_No_448 | 2669
F5IH49B | Calc_No_449 | 2670
F5IH1C | Calc_No_450 | 2671
F5IH2C | Calc_No_451 | 2672
F5IH3C | Calc_No_452 | 2673
F5IH4C | Calc_No_453 | 2674
F5IH5C | Calc_No_454 | 2675
F5IH26C | Calc_No_455 | 2696
F5IH27C | Calc_No_456 | 2697
F5IH28C | Calc_No_457 | 2698
F5IH29C | Calc_No_458 | 2699
F5IH30C | Calc_No_459 | 2700
F5IH45C | Calc_No_460 | 2715
F5IH46C | Calc_No_461 | 2716
F5IH47C | Calc_No_462 | 2717
F5IH48C | Calc_No_463 | 2718
F5IH49C | Calc_No_464 | 2719
| Calc_No_465 | 16777215
Calc_No_466
Calc_No_467
Calc_No_468
Calc_No_469
Calc_No_470
Calc_No_471
Calc_No_472
Calc_No_473
Calc_No_474
Calc_No_475
Calc_No_476
Calc_No_477
Calc_No_478
Calc_No_479
Calc_No_480
Calc_No_481
Calc_No_482
Calc_No_483
Calc_No_484
Calc_No_485
Calc_No_486
Calc_No_487
Calc_No_488
Calc_No_489
Calc_No_490
Calc_No_491
Calc_No_492
Calc_No_493
Calc_No_494
Calc_No_495
Calc_No_496
Calc_No_497
Calc_No_498
Calc_No_499
Calc_No_500
Calc_No_501
Calc_No_502
Calc_No_503
Calc_No_504
Calc_No_505
Calc_No_506
Calc_No_507
Calc_No_508
Calc_No_509
Calc_No_510
Calc_No_511
Calc_No_512
Calc_No_513
Calc_No_514
Calc_No_515
Calc_No_516
Calc_No_517
Calc_No_518
Calc_No_519
Calc_No_520
Calc_No_521
Calc_No_522
Calc_No_523
Calc_No_524
Calc_No_525
Calc_No_526
Calc_No_527
Calc_No_528
Calc_No_529
Calc_No_530
Calc_No_531
Calc_No_532
Calc_No_533
Calc_No_534
Calc_No_535
Calc_No_536
Calc_No_537
Calc_No_538
Calc_No_539
Calc_No_540
Calc_No_541
Calc_No_542
Calc_No_543
Calc_No_544
Calc_No_545
Calc_No_546
Calc_No_547
Calc_No_548
Calc_No_549
Calc_No_550
Calc_No_551
Calc_No_552
Calc_No_553
Calc_No_554
Calc_No_555
Calc_No_556
Calc_No_557
Calc_No_558
Calc_No_559
Calc_No_560
Calc_No_561
Calc_No_562
Calc_No_563
Calc_No_564
Calc_No_565
Calc_No_566
Calc_No_567
Calc_No_568
Calc_No_569
Calc_No_570
Calc_No_571
Calc_No_572
Calc_No_573
Calc_No_574
Calc_No_575
Calc_No_576
Calc_No_577
Calc_No_578
Calc_No_579
Calc_No_580
Calc_No_581
Calc_No_582
Calc_No_583
Calc_No_584
Calc_No_585
Calc_No_586
Calc_No_587
Calc_No_588
Calc_No_589
Calc_No_590
Calc_No_591
Calc_No_592
Calc_No_593
Calc_No_594
Calc_No_595
Calc_No_596
Calc_No_597
Calc_No_598
Calc_No_599
Calc_No_600
Calc_No_601
Calc_No_602
Calc_No_603
Calc_No_604
Calc_No_605
Calc_No_606
Calc_No_607
Calc_No_608
Calc_No_609
Calc_No_610
Calc_No_611
Calc_No_612
Calc_No_613
Calc_No_614
Calc_No_615
Calc_No_616
Calc_No_617
Calc_No_618
Calc_No_619
Calc_No_620
Calc_No_621
Calc_No_622
Calc_No_623
Calc_No_624
Calc_No_625
Calc_No_626
Calc_No_627
Calc_No_628
Calc_No_629
Calc_No_630
Calc_No_631
Calc_No_632
Calc_No_633
Calc_No_634
Calc_No_635
Calc_No_636
Calc_No_637
Calc_No_638
Calc_No_639
Calc_No_640
Calc_No_641
Calc_No_642
Calc_No_643
Calc_No_644
Calc_No_645
Calc_No_646
Calc_No_647
Calc_No_648
Calc_No_649
Calc_No_650
Calc_No_651
Calc_No_652
Calc_No_653
Calc_No_654
Calc_No_655
Calc_No_656
Calc_No_657
Calc_No_658
Calc_No_659
Calc_No_660
Calc_No_661
Calc_No_662
Calc_No_663
Calc_No_664
Calc_No_665
Calc_No_666
Calc_No_667
Calc_No_668
Calc_No_669
Calc_No_670
Calc_No_671
Calc_No_672
Calc_No_673
Calc_No_674
Calc_No_675
Calc_No_676
Calc_No_677
Calc_No_678
Calc_No_679
Calc_No_680
Calc_No_681
Calc_No_682
Calc_No_683
Calc_No_684
Calc_No_685
Calc_No_686
Calc_No_687
Calc_No_688
Calc_No_689
Calc_No_690
Calc_No_691
Calc_No_692
Calc_No_693
Calc_No_694
Calc_No_695
Calc_No_696
Calc_No_697
Calc_No_698
Calc_No_699
Calc_No_700
Calc_No_701
Calc_No_702
Calc_No_703
Calc_No_704
Calc_No_705
Calc_No_706
Calc_No_707
Calc_No_708
Calc_No_709
Calc_No_710
Calc_No_711
Calc_No_712
Calc_No_713
Calc_No_714
Calc_No_715
Calc_No_716
Calc_No_717
Calc_No_718
Calc_No_719
Calc_No_720
Calc_No_721
Calc_No_722
Calc_No_723
Calc_No_724
Calc_No_725
Calc_No_726
Calc_No_727
Calc_No_728
Calc_No_729
Calc_No_730
Calc_No_731
Calc_No_732
Calc_No_733
Calc_No_734
Calc_No_735
Calc_No_736
Calc_No_737
Calc_No_738
Calc_No_739
Calc_No_740
Calc_No_741
Calc_No_742
Calc_No_743
Calc_No_744
Calc_No_745
Calc_No_746
Calc_No_747
Calc_No_748
Calc_No_749
Calc_No_750
Calc_No_751
Calc_No_752
Calc_No_753
Calc_No_754
Calc_No_755
Calc_No_756
Calc_No_757
Calc_No_758
Calc_No_759
Calc_No_760
Calc_No_761
Calc_No_762
Calc_No_763
Calc_No_764
Calc_No_765
Calc_No_766
Calc_No_767
Calc_No_768
Calc_No_769
Calc_No_770
Calc_No_771
Calc_No_772
Calc_No_773
Calc_No_774
Calc_No_775
Calc_No_776
Calc_No_777
Calc_No_778
Calc_No_779
Calc_No_780
Calc_No_781
Calc_No_782
Calc_No_783
Calc_No_784
Calc_No_785
Calc_No_786
Calc_No_787
Calc_No_788
Calc_No_789
Calc_No_790
Calc_No_791
Calc_No_792
Calc_No_793
Calc_No_794
Calc_No_795
Calc_No_796
Calc_No_797
Calc_No_798
Calc_No_799
Calc_No_800
Calc_No_801
Calc_No_802
Calc_No_803
Calc_No_804
Calc_No_805
Calc_No_806
Calc_No_807
Calc_No_808
Calc_No_809
Calc_No_810
Calc_No_811
Calc_No_812
Calc_No_813
Calc_No_814
Calc_No_815
Calc_No_816
Calc_No_817
Calc_No_818
Calc_No_819
Calc_No_820
Calc_No_821
Calc_No_822
Calc_No_823
Calc_No_824
Calc_No_825
Calc_No_826
Calc_No_827
Calc_No_828
Calc_No_829
Calc_No_830
Calc_No_831
Calc_No_832
Calc_No_833
Calc_No_834
Calc_No_835
Calc_No_836
Calc_No_837
Calc_No_838
Calc_No_839
Calc_No_840
Calc_No_841
Calc_No_842
Calc_No_843
Calc_No_844
Calc_No_845
Calc_No_846
Calc_No_847
Calc_No_848
Calc_No_849
Calc_No_850
Calc_No_851
Calc_No_852
Calc_No_853
Calc_No_854
Calc_No_855
Calc_No_856
Calc_No_857
Calc_No_858
Calc_No_859
Calc_No_860
Calc_No_861
Calc_No_862
Calc_No_863
Calc_No_864
Calc_No_865
Calc_No_866
Calc_No_867
Calc_No_868
Calc_No_869
Calc_No_870
Calc_No_871
Calc_No_872
Calc_No_873
Calc_No_874
Calc_No_875
Calc_No_876
Calc_No_877
Calc_No_878
Calc_No_879
Calc_No_880
Calc_No_881
Calc_No_882
Calc_No_883
Calc_No_884
Calc_No_885
Calc_No_886
Calc_No_887
Calc_No_888
Calc_No_889
Calc_No_890
Calc_No_891
Calc_No_892
Calc_No_893
Calc_No_894
Calc_No_895
Calc_No_896
Calc_No_897
Calc_No_898
Calc_No_899
Calc_No_900
Calc_No_901
Calc_No_902
Calc_No_903
Calc_No_904
Calc_No_905
Calc_No_906
Calc_No_907
Calc_No_908
Calc_No_909
Calc_No_910
Calc_No_911
Calc_No_912
Calc_No_913
Calc_No_914
Calc_No_915
Calc_No_916
Calc_No_917
Calc_No_918
Calc_No_919
Calc_No_920
Calc_No_921
Calc_No_922
Calc_No_923
Calc_No_924
Calc_No_925
Calc_No_926
Calc_No_927
Calc_No_928
Calc_No_929
Calc_No_930
Calc_No_931
Calc_No_932
Calc_No_933
Calc_No_934
Calc_No_935
Calc_No_936
Calc_No_937
Calc_No_938
Calc_No_939
Calc_No_940
Calc_No_941
Calc_No_942
Calc_No_943
Calc_No_944
Calc_No_945
Calc_No_946
Calc_No_947
Calc_No_948
Calc_No_949
Calc_No_950
Calc_No_951
Calc_No_952
Calc_No_953
Calc_No_954
Calc_No_955
Calc_No_956
Calc_No_957
Calc_No_958
Calc_No_959
Calc_No_960
Calc_No_961
Calc_No_962
Calc_No_963
Calc_No_964
Calc_No_965
Calc_No_966
Calc_No_967
Calc_No_968
Calc_No_969
Calc_No_970
Calc_No_971
Calc_No_972
Calc_No_973
Calc_No_974
Calc_No_975
Calc_No_976
Calc_No_977
Calc_No_978
Calc_No_979
Calc_No_980
Calc_No_981
Calc_No_982
Calc_No_983
Calc_No_984
Calc_No_985
Calc_No_986
Calc_No_987
Calc_No_988
Calc_No_989
Calc_No_990
Calc_No_991
Calc_No_992
Calc_No_993
Calc_No_994
Calc_No_995
Calc_No_996
Calc_No_997
Calc_No_998
Calc_No_999
Calc_No_1000
Calc_No_1001
Calc_No_1002
Calc_No_1003
Calc_No_1004
Calc_No_1005
Calc_No_1006
Calc_No_1007
Calc_No_1008
Calc_No_1009
Calc_No_1010
Calc_No_1011
Calc_No_1012
Calc_No_1013
Calc_No_1014
Calc_No_1015
Calc_No_1016
Calc_No_1017
Calc_No_1018
Calc_No_1019
Calc_No_1020
Calc_No_1021
Calc_No_1022
Calc_No_1023
Calc_No_1024
Calc_No_1025
Calc_No_1026
Calc_No_1027
Calc_No_1028
Calc_No_1029
Calc_No_1030
Calc_No_1031
Calc_No_1032
Calc_No_1033
Calc_No_1034
Calc_No_1035
Calc_No_1036
Calc_No_1037
Calc_No_1038
Calc_No_1039
Calc_No_1040
Calc_No_1041
Calc_No_1042
Calc_No_1043
Calc_No_1044
Calc_No_1045
Calc_No_1046
Calc_No_1047
Calc_No_1048
Calc_No_1049
Calc_No_1050
Calc_No_1051
Calc_No_1052
Calc_No_1053
Calc_No_1054
Calc_No_1055
Calc_No_1056
Calc_No_1057
Calc_No_1058
Calc_No_1059
Calc_No_1060
Calc_No_1061
Calc_No_1062
Calc_No_1063
Calc_No_1064
Calc_No_1065
Calc_No_1066
Calc_No_1067
Calc_No_1068
Calc_No_1069
Calc_No_1070
Calc_No_1071
Calc_No_1072
Calc_No_1073
Calc_No_1074
Calc_No_1075
Calc_No_1076
Calc_No_1077
Calc_No_1078
Calc_No_1079
Calc_No_1080
Calc_No_1081
Calc_No_1082
Calc_No_1083
Calc_No_1084
Calc_No_1085
Calc_No_1086
Calc_No_1087
Calc_No_1088
Calc_No_1089
Calc_No_1090
Calc_No_1091
Calc_No_1092
Calc_No_1093
Calc_No_1094
Calc_No_1095
Calc_No_1096
Calc_No_1097
Calc_No_1098
Calc_No_1099
Calc_No_1100
Calc_No_1101
Calc_No_1102
Calc_No_1103
Calc_No_1104
Calc_No_1105
Calc_No_1106
Calc_No_1107
Calc_No_1108
Calc_No_1109
Calc_No_1110
Calc_No_1111
Calc_No_1112
Calc_No_1113
Calc_No_1114
Calc_No_1115
Calc_No_1116
Calc_No_1117
Calc_No_1118
Calc_No_1119
Calc_No_1120
Calc_No_1121
Calc_No_1122
Calc_No_1123
Calc_No_1124
Calc_No_1125
Calc_No_1126
Calc_No_1127
Calc_No_1128
Calc_No_1129
Calc_No_1130
Calc_No_1131
Calc_No_1132
Calc_No_1133
Calc_No_1134
Calc_No_1135
Calc_No_1136
Calc_No_1137
Calc_No_1138
Calc_No_1139
Calc_No_1140
Calc_No_1141
Calc_No_1142
Calc_No_1143
Calc_No_1144
Calc_No_1145
Calc_No_1146
Calc_No_1147
Calc_No_1148
Calc_No_1149
Calc_No_1150
Calc_No_1151
Calc_No_1152
Calc_No_1153
Calc_No_1154
Calc_No_1155
Calc_No_1156
Calc_No_1157
Calc_No_1158
Calc_No_1159
Calc_No_1160
Calc_No_1161
Calc_No_1162
Calc_No_1163
Calc_No_1164
Calc_No_1165
Calc_No_1166
Calc_No_1167
Calc_No_1168
Calc_No_1169
Calc_No_1170
Calc_No_1171
Calc_No_1172
Calc_No_1173
Calc_No_1174
Calc_No_1175
Calc_No_1176
Calc_No_1177
Calc_No_1178
Calc_No_1179
Calc_No_1180
Calc_No_1181
Calc_No_1182
Calc_No_1183
Calc_No_1184
Calc_No_1185
Calc_No_1186
Calc_No_1187
Calc_No_1188

## DSPFeederMap
DSP_Feeder_Map | Values
DSP_1_Feeder_Map_0 | 0
DSP_1_Feeder_Map_1 | 1
DSP_1_Feeder_Map_2 | 2
DSP_2_Feeder_Map_0 | 3
DSP_2_Feeder_Map_1 | 4
DSP_2_Feeder_Map_2 | -1

## BusbarFeederMap
Busbar_Channel_Map | Values
Busbar_0_Channel_0 | 1
Busbar_0_Channel_1 | 2
Busbar_0_Channel_2 | 3
Busbar_0_Channel_3 | 0
Busbar_0_Channel_Count | 3
Busbar_1_Channel_0 | 0
Busbar_1_Channel_1 | 0
Busbar_1_Channel_2 | 0
Busbar_1_Channel_3 | 0
Busbar_1_Channel_Count | 0
Feeder_0_Channel_0 | 4
Feeder_0_Channel_1 | 5
Feeder_0_Channel_2 | 6
Feeder_0_Channel_3 | 0
Feeder_0_Channel_Count | 3
Feeder_0_Channel_AssociatedBusbar | 0
Feeder_1_Channel_0 | 7
Feeder_1_Channel_1 | 8
Feeder_1_Channel_2 | 9
Feeder_1_Channel_3 | 0
Feeder_1_Channel_Count | 3
Feeder_1_Channel_AssociatedBusbar | 0
Feeder_2_Channel_0 | 10
Feeder_2_Channel_1 | 11
Feeder_2_Channel_2 | 12
Feeder_2_Channel_3 | 0
Feeder_2_Channel_Count | 3
Feeder_2_Channel_AssociatedBusbar | 0
Feeder_3_Channel_0 | 13
Feeder_3_Channel_1 | 14
Feeder_3_Channel_2 | 15
Feeder_3_Channel_3 | 0
Feeder_3_Channel_Count | 3
Feeder_3_Channel_AssociatedBusbar | 0
Feeder_4_Channel_0 | 16
Feeder_4_Channel_1 | 17
Feeder_4_Channel_2 | 18
Feeder_4_Channel_3 | 0
Feeder_4_Channel_Count | 3
Feeder_4_Channel_AssociatedBusbar | 0