## StandaloneParameters
Quantity | Paramlist | CalcNo
F1RMSN | Calc_No_0 | 861
F1H1N | Calc_No_1 | 1016
F1H2N | Calc_No_2 | 1017
F1H3N | Calc_No_3 | 1018
F1H4N | Calc_No_4 | 1019
F1H5N | Calc_No_5 | 1020
F1H26N | Calc_No_6 | 1041
F1H27N | Calc_No_7 | 1042
F1H28N | Calc_No_8 | 1043
F1H29N | Calc_No_9 | 1044
F1H30N | Calc_No_10 | 1045
F1H46N | Calc_No_11 | 1061
F1H47N | Calc_No_12 | 1062
F1H48N | Calc_No_13 | 1063
F1H49N | Calc_No_14 | 1064
F1H50N | Calc_No_15 | 1065
F1IH1N | Calc_No_16 | 1213
F1IH2N | Calc_No_17 | 1214
F1IH3N | Calc_No_18 | 1215
F1IH4N | Calc_No_19 | 1216
F1IH5N | Calc_No_20 | 1217
F1IH26N | Calc_No_21 | 1238
F1IH27N | Calc_No_22 | 1239
F1IH28N | Calc_No_23 | 1240
F1IH29N | Calc_No_24 | 1241
F1IH30N | Calc_No_25 | 1242
F1IH45N | Calc_No_26 | 1257
F1IH46N | Calc_No_27 | 1258
F1IH47N | Calc_No_28 | 1259
F1IH48N | Calc_No_29 | 1260
F1IH49N | Calc_No_30 | 1261
| Calc_No_124 | 16777215
Calc_No_125
Calc_No_126
Calc_No_127
Calc_No_128
Calc_No_129
Calc_No_130
Calc_No_131
Calc_No_132
Calc_No_133
Calc_No_134
Calc_No_135
Calc_No_136
Calc_No_137
Calc_No_138
Calc_No_139
Calc_No_140
Calc_No_141
Calc_No_142
Calc_No_143
Calc_No_144
Calc_No_145
Calc_No_146
Calc_No_147
Calc_No_148
Calc_No_149
Calc_No_150
Calc_No_151
Calc_No_152
Calc_No_153
Calc_No_154
Calc_No_155
Calc_No_156
Calc_No_157
Calc_No_158
Calc_No_159
Calc_No_160
Calc_No_161
Calc_No_162
Calc_No_163
Calc_No_164
Calc_No_165
Calc_No_166
Calc_No_167
Calc_No_168
Calc_No_169
Calc_No_170
Calc_No_171
Calc_No_172
Calc_No_173
Calc_No_174
Calc_No_175
Calc_No_176
Calc_No_177
Calc_No_178
Calc_No_179
Calc_No_180
Calc_No_181
Calc_No_182
Calc_No_183
Calc_No_184
Calc_No_185
Calc_No_186
Calc_No_187
Calc_No_188
Calc_No_189
Calc_No_190
Calc_No_191
Calc_No_192
Calc_No_193
Calc_No_194
Calc_No_195
Calc_No_196
Calc_No_197
Calc_No_198
Calc_No_199
Calc_No_200
Calc_No_201
Calc_No_202
Calc_No_203
Calc_No_204
Calc_No_205
Calc_No_206
Calc_No_207
Calc_No_208
Calc_No_209
Calc_No_210
Calc_No_211
Calc_No_212
Calc_No_213
Calc_No_214
Calc_No_215
Calc_No_216
Calc_No_217
Calc_No_218
Calc_No_219
Calc_No_220
Calc_No_221
Calc_No_222
Calc_No_223
Calc_No_224
Calc_No_225
Calc_No_226
Calc_No_227
Calc_No_228
Calc_No_229
Calc_No_230
Calc_No_231
Calc_No_232
Calc_No_233
Calc_No_234
Calc_No_235
Calc_No_236
Calc_No_237
Calc_No_238
Calc_No_239
Calc_No_240
Calc_No_241
Calc_No_242
Calc_No_243
Calc_No_244
Calc_No_245
Calc_No_246
Calc_No_247
Calc_No_248
Calc_No_249
Calc_No_250
Calc_No_251
Calc_No_252
Calc_No_253
Calc_No_254
Calc_No_255
Calc_No_256
Calc_No_257
Calc_No_258
Calc_No_259
Calc_No_260
Calc_No_261
Calc_No_262
Calc_No_263
Calc_No_264
Calc_No_265
Calc_No_266
Calc_No_267
Calc_No_268
Calc_No_269
Calc_No_270
Calc_No_271
Calc_No_272
Calc_No_273
Calc_No_274
Calc_No_275
Calc_No_276
Calc_No_277
Calc_No_278
Calc_No_279
Calc_No_280
Calc_No_281
Calc_No_282
Calc_No_283
Calc_No_284
Calc_No_285
Calc_No_286
Calc_No_287
Calc_No_288
Calc_No_289
Calc_No_290
Calc_No_291
Calc_No_292
Calc_No_293
Calc_No_294
Calc_No_295
Calc_No_296
Calc_No_297
Calc_No_298
Calc_No_299
Calc_No_300
Calc_No_301
Calc_No_302
Calc_No_303
Calc_No_304
Calc_No_305
Calc_No_306
Calc_No_307
Calc_No_308
Calc_No_309
Calc_No_310
Calc_No_311
Calc_No_312
Calc_No_313
Calc_No_314
Calc_No_315
Calc_No_316
Calc_No_317
Calc_No_318
Calc_No_319
Calc_No_320
Calc_No_321
Calc_No_322
Calc_No_323
Calc_No_324
Calc_No_325
Calc_No_326
Calc_No_327
Calc_No_328
Calc_No_329
Calc_No_330
Calc_No_331
Calc_No_332
Calc_No_333
Calc_No_334
Calc_No_335
Calc_No_336
Calc_No_337
Calc_No_338
Calc_No_339
Calc_No_340
Calc_No_341
Calc_No_342
Calc_No_343
Calc_No_344
Calc_No_345
Calc_No_346
Calc_No_347
Calc_No_348
Calc_No_349
Calc_No_350
Calc_No_351
Calc_No_352
Calc_No_353
Calc_No_354
Calc_No_355
Calc_No_356
Calc_No_357
Calc_No_358
Calc_No_359
Calc_No_360
Calc_No_361
Calc_No_362
Calc_No_363
Calc_No_364
Calc_No_365
Calc_No_366
Calc_No_367
Calc_No_368
Calc_No_369
Calc_No_370
Calc_No_371
Calc_No_372
Calc_No_373
Calc_No_374
Calc_No_375
Calc_No_376
Calc_No_377
Calc_No_378
Calc_No_379
Calc_No_380
Calc_No_381
Calc_No_382
Calc_No_383
Calc_No_384
Calc_No_385
Calc_No_386
Calc_No_387
Calc_No_388
Calc_No_389
Calc_No_390
Calc_No_391
Calc_No_392
Calc_No_393
Calc_No_394
Calc_No_395
Calc_No_396
Calc_No_397
Calc_No_398
Calc_No_399
Calc_No_400
Calc_No_401
Calc_No_402
Calc_No_403
Calc_No_404
Calc_No_405
Calc_No_406
Calc_No_407
Calc_No_408
Calc_No_409
Calc_No_410
Calc_No_411
Calc_No_412
Calc_No_413
Calc_No_414
Calc_No_415
Calc_No_416
Calc_No_417
Calc_No_418
Calc_No_419
Calc_No_420
Calc_No_421
Calc_No_422
Calc_No_423
Calc_No_424
Calc_No_425
Calc_No_426
Calc_No_427
Calc_No_428
Calc_No_429
Calc_No_430
Calc_No_431
Calc_No_432
Calc_No_433
Calc_No_434
Calc_No_435
Calc_No_436
Calc_No_437
Calc_No_438
Calc_No_439
Calc_No_440
Calc_No_441
Calc_No_442
Calc_No_443
Calc_No_444
Calc_No_445
Calc_No_446
Calc_No_447
Calc_No_448
Calc_No_449
Calc_No_450
Calc_No_451
Calc_No_452
Calc_No_453
Calc_No_454
Calc_No_455
Calc_No_456
Calc_No_457
Calc_No_458
Calc_No_459
Calc_No_460
Calc_No_461
Calc_No_462
Calc_No_463
Calc_No_464
Calc_No_465
Calc_No_466
Calc_No_467
Calc_No_468
Calc_No_469
Calc_No_470
Calc_No_471
Calc_No_472
Calc_No_473
Calc_No_474
Calc_No_475
Calc_No_476
Calc_No_477
Calc_No_478
Calc_No_479
Calc_No_480
Calc_No_481
Calc_No_482
Calc_No_483
Calc_No_484
Calc_No_485
Calc_No_486
Calc_No_487
Calc_No_488
Calc_No_489
Calc_No_490
Calc_No_491
Calc_No_492
Calc_No_493
Calc_No_494
Calc_No_495
Calc_No_496
Calc_No_497
Calc_No_498
Calc_No_499
Calc_No_500
Calc_No_501
Calc_No_502
Calc_No_503
Calc_No_504
Calc_No_505
Calc_No_506
Calc_No_507
Calc_No_508
Calc_No_509
Calc_No_510
Calc_No_511
Calc_No_512
Calc_No_513
Calc_No_514
Calc_No_515
Calc_No_516
Calc_No_517
Calc_No_518
Calc_No_519
Calc_No_520
Calc_No_521
Calc_No_522
Calc_No_523
Calc_No_524
Calc_No_525
Calc_No_526
Calc_No_527
Calc_No_528
Calc_No_529
Calc_No_530
Calc_No_531
Calc_No_532
Calc_No_533
Calc_No_534
Calc_No_535
Calc_No_536
Calc_No_537
Calc_No_538
Calc_No_539
Calc_No_540
Calc_No_541
Calc_No_542
Calc_No_543
Calc_No_544
Calc_No_545
Calc_No_546
Calc_No_547
Calc_No_548
Calc_No_549
Calc_No_550
Calc_No_551
Calc_No_552
Calc_No_553
Calc_No_554
Calc_No_555
Calc_No_556
Calc_No_557
Calc_No_558
Calc_No_559
Calc_No_560
Calc_No_561
Calc_No_562
Calc_No_563
Calc_No_564
Calc_No_565
Calc_No_566
Calc_No_567
Calc_No_568
Calc_No_569
Calc_No_570
Calc_No_571
Calc_No_572
Calc_No_573
Calc_No_574
Calc_No_575
Calc_No_576
Calc_No_577
Calc_No_578
Calc_No_579
Calc_No_580
Calc_No_581
Calc_No_582
Calc_No_583
Calc_No_584
Calc_No_585
Calc_No_586
Calc_No_587
Calc_No_588
Calc_No_589
Calc_No_590
Calc_No_591
Calc_No_592
Calc_No_593
Calc_No_594
Calc_No_595
Calc_No_596
Calc_No_597
Calc_No_598
Calc_No_599
Calc_No_600
Calc_No_601
Calc_No_602
Calc_No_603
Calc_No_604
Calc_No_605
Calc_No_606
Calc_No_607
Calc_No_608
Calc_No_609
Calc_No_610
Calc_No_611
Calc_No_612
Calc_No_613
Calc_No_614
Calc_No_615
Calc_No_616
Calc_No_617
Calc_No_618
Calc_No_619
Calc_No_620
Calc_No_621
Calc_No_622
Calc_No_623
Calc_No_624
Calc_No_625
Calc_No_626
Calc_No_627
Calc_No_628
Calc_No_629
Calc_No_630
Calc_No_631
Calc_No_632
Calc_No_633
Calc_No_634
Calc_No_635
Calc_No_636
Calc_No_637
Calc_No_638
Calc_No_639
Calc_No_640
Calc_No_641
Calc_No_642
Calc_No_643
Calc_No_644
Calc_No_645
Calc_No_646
Calc_No_647
Calc_No_648
Calc_No_649
Calc_No_650
Calc_No_651
Calc_No_652
Calc_No_653
Calc_No_654
Calc_No_655
Calc_No_656
Calc_No_657
Calc_No_658
Calc_No_659
Calc_No_660
Calc_No_661
Calc_No_662
Calc_No_663
Calc_No_664
Calc_No_665
Calc_No_666
Calc_No_667
Calc_No_668
Calc_No_669
Calc_No_670
Calc_No_671
Calc_No_672
Calc_No_673
Calc_No_674
Calc_No_675
Calc_No_676
Calc_No_677
Calc_No_678
Calc_No_679
Calc_No_680
Calc_No_681
Calc_No_682
Calc_No_683
Calc_No_684
Calc_No_685
Calc_No_686
Calc_No_687
Calc_No_688
Calc_No_689
Calc_No_690
Calc_No_691
Calc_No_692
Calc_No_693
Calc_No_694
Calc_No_695
Calc_No_696
Calc_No_697
Calc_No_698
Calc_No_699
Calc_No_700
Calc_No_701
Calc_No_702
Calc_No_703
Calc_No_704
Calc_No_705
Calc_No_706
Calc_No_707
Calc_No_708
Calc_No_709
Calc_No_710
Calc_No_711
Calc_No_712
Calc_No_713
Calc_No_714
Calc_No_715
Calc_No_716
Calc_No_717
Calc_No_718
Calc_No_719
Calc_No_720
Calc_No_721
Calc_No_722
Calc_No_723
Calc_No_724
Calc_No_725
Calc_No_726
Calc_No_727
Calc_No_728
Calc_No_729
Calc_No_730
Calc_No_731
Calc_No_732
Calc_No_733
Calc_No_734
Calc_No_735
Calc_No_736
Calc_No_737
Calc_No_738
Calc_No_739
Calc_No_740
Calc_No_741
Calc_No_742
Calc_No_743
Calc_No_744
Calc_No_745
Calc_No_746
Calc_No_747
Calc_No_748
Calc_No_749
Calc_No_750
Calc_No_751
Calc_No_752
Calc_No_753
Calc_No_754
Calc_No_755

## DeviceInfo
DeviceIP | CalibrationFileName
10.75.58.51 | sn409026540_7U_11I.cal

## Cabling
Channel | label | si_units | si_prefix | feeder_number | busbar | phase | tx_ratio_num | tx_ratio_den | usage | PMP_FR_Cabling | PMP_PQ_Cabling
Channel[0] | Channel 1 | VOLTS | UNIT | NO_FEEDER | BUSBAR1 | A/AB | 1 | 1 | BOTH | Cabling 2M3U3I3I3I | Cabling 3U4U3I3I4I
Channel[1] | Channel 2 | VOLTS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE
Channel[2] | Channel 3 | VOLTS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE
Channel[3] | Channel 4 | VOLTS | UNIT | NO_FEEDER | BUSBAR2 | A/AB | 1 | 1 | BOTH
Channel[4] | Channel 5 | AMPS | UNIT | FEEDER1 | BUSBAR1 | A/AB | 1 | 1 | BOTH |  |  | Channel 1 | VOLTS | NO_FEEDER | BUSBAR1 | A/AB | PQ
Channel[5] | Channel 6 | AMPS | UNIT | FEEDER1 | BUSBAR1 | B/BC | 1 | 1 | BOTH |  |  | Channel 2 | AMPS | FEEDER1 | BUSBAR2 | B/BC | FR
Channel[6] | Channel 7 | AMPS | UNIT | FEEDER1 | BUSBAR1 | C/CA | 1 | 1 | BOTH |  |  | Channel 3 |  | FEEDER2 | VBUSBAR1 | C/CA | BOTH
Channel[7] | Channel 8 | AMPS | UNIT | FEEDER2 | BUSBAR1 | A/AB | 1 | 1 | BOTH |  |  | Channel 4 |  | FEEDER3 | VBUSBAR2 | N | STANDALONE
Channel[8] | Channel 9 | AMPS | UNIT | FEEDER2 | BUSBAR1 | B/BC | 1 | 1 | BOTH |  |  | Channel 5 |  | FEEDER4 | NO_BUSBAR | NONE | STANDALONE_PQ
Channel[9] | Channel 10 | VOLTS | UNIT | NO_FEEDER | BUSBAR2 | B/BC | 1 | 1 | BOTH |  |  | Channel 6 |  | FEEDER5
Channel[10] | Channel 11 | VOLTS | UNIT | NO_FEEDER | BUSBAR2 | C/CA | 1 | 1 | BOTH |  |  | Channel 7
Channel[11] | Channel 12 | VOLTS | UNIT | NO_FEEDER | BUSBAR2 | N | 1 | 1 | PQ |  |  | Channel 8
Channel[12] | Channel 13 | AMPS | UNIT | FEEDER2 | BUSBAR1 | C/CA | 1 | 1 | BOTH |  |  | Channel 9
Channel[13] | Channel 14 | AMPS | UNIT | FEEDER3 | BUSBAR2 | A/AB | 1 | 1 | BOTH |  |  | Channel 10
Channel[14] | Channel 15 | AMPS | UNIT | FEEDER3 | BUSBAR2 | B/BC | 1 | 1 | BOTH |  |  | Channel 11
Channel[15] | Channel 16 | AMPS | UNIT | FEEDER3 | BUSBAR2 | C/CA | 1 | 1 | BOTH |  |  | Channel 12
Channel[16] | Channel 17 | AMPS | UNIT | FEEDER3 | BUSBAR2 | N | 1 | 1 | PQ |  |  | Channel 13
Channel[17] | Channel 18 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 14
Channel 15
Channel 16
Channel 17
Channel 18

## DSPFeederMap
DSP_Feeder_Map | Values
DSP_1_Feeder_Map_0 | 0
DSP_1_Feeder_Map_1 | 1
DSP_1_Feeder_Map_2 | -1
DSP_2_Feeder_Map_0 | 2
DSP_2_Feeder_Map_1 | 3
DSP_2_Feeder_Map_2 | -1

## BusbarFeederMap
Busbar_Channel_Map | Values
Busbar_0_Channel_0 | 1
Busbar_0_Channel_1 | 0
Busbar_0_Channel_2 | 0
Busbar_0_Channel_3 | 0
Busbar_0_Channel_Count | 3
Busbar_1_Channel_0 | 4
Busbar_1_Channel_1 | 10
Busbar_1_Channel_2 | 11
Busbar_1_Channel_3 | 12
Busbar_1_Channel_Count | 4
Feeder_0_Channel_0 | 5
Feeder_0_Channel_1 | 6
Feeder_0_Channel_2 | 7
Feeder_0_Channel_3 | 2
Feeder_0_Channel_Count | 4
Feeder_0_Channel_AssociatedBusbar | 1
Feeder_1_Channel_0 | 8
Feeder_1_Channel_1 | 9
Feeder_1_Channel_2 | 13
Feeder_1_Channel_3 | 3
Feeder_1_Channel_Count | 4
Feeder_1_Channel_AssociatedBusbar | 1
Feeder_2_Channel_0 | 14
Feeder_2_Channel_1 | 15
Feeder_2_Channel_2 | 16
Feeder_2_Channel_3 | 17
Feeder_2_Channel_Count | 4
Feeder_2_Channel_AssociatedBusbar | 2
Feeder_3_Channel_0 | 18
Feeder_3_Channel_1 | 0
Feeder_3_Channel_2 | 0
Feeder_3_Channel_3 | 0
Feeder_3_Channel_Count | 1
Feeder_3_Channel_AssociatedBusbar | 0
Feeder_4_Channel_0 | 0
Feeder_4_Channel_1 | 0
Feeder_4_Channel_2 | 0
Feeder_4_Channel_3 | 0
Feeder_4_Channel_Count | 0
Feeder_4_Channel_AssociatedBusbar | 0

## DSPChannelMap
DSPChannelMap 1 | Channel_Number_DSP1 | DSPChannelMap 2 | Channel_Number_DSP2
0 | 1 | 0 | 4
1 | 0 | 1 | 10
2 | 0 | 2 | 11
3 | 5 | 3 | 12
4 | 6 | 4 | 14
5 | 7 | 5 | 15
6 | 2 | 6 | 16
7 | 8 | 7 | 17
8 | 9 | 8 | 18
9 | 13 | 9 | 0
10 | 3 | 10 | 0
11 | 0 | 11 | 0