## DeviceInfo
DeviceIP | CalibrationFileName
10.75.58.51 | sn409026540_3U_15I.cal

## Cabling
Channel | label | si_units | si_prefix | feeder_number | busbar | phase | tx_ratio_num | tx_ratio_den | usage | PMP_FR_Cabling | PMP_PQ_Cabling
Channel[0] | Channel 1 | VOLTS | UNIT | NO_FEEDER | BUSBAR1 | A/AB | 1 | 1 | PQ | Cabling FRNOCIRCUIT | Cabling 3U
Channel[1] | Channel 2 | VOLTS | UNIT | NO_FEEDER | BUSBAR1 | B/BC | 1 | 1 | PQ
Channel[2] | Channel 3 | VOLTS | UNIT | NO_FEEDER | BUSBAR1 | C/CA | 1 | 1 | PQ
Channel[3] | Channel 4 | VOLTS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE
Channel[4] | Channel 5 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 1 | VOLTS | NO_FEEDER | BUSBAR1 | A/AB | PQ
Channel[5] | Channel 6 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 2 | AMPS | FEEDER1 | BUSBAR2 | B/BC | FR
Channel[6] | Channel 7 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 3 |  | FEEDER2 | VBUSBAR1 | C/CA | BOTH
Channel[7] | Channel 8 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 4 |  | FEEDER3 | VBUSBAR2 | N | STANDALONE
Channel[8] | Channel 9 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 5 |  | FEEDER4 | NO_BUSBAR | NONE | STANDALONE_PQ
Channel[9] | Channel 10 | VOLTS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 6 |  | FEEDER5
Channel[10] | Channel 11 | VOLTS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 7
Channel[11] | Channel 12 | VOLTS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 8
Channel[12] | Channel 13 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 9
Channel[13] | Channel 14 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 10
Channel[14] | Channel 15 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 11
Channel[15] | Channel 16 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 12
Channel[16] | Channel 17 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 13
Channel[17] | Channel 18 | AMPS | UNIT | NO_FEEDER | NO_BUSBAR | NONE | 1 | 1 | STANDALONE |  |  | Channel 14
Channel 15
Channel 16
Channel 17
Channel 18

## DSPChannelMap
DSPChannelMap 1 | Channel_Number_DSP1 | DSPChannelMap 2 | Channel_Number_DSP2
0 | 1 | 0 | 13
1 | 2 | 1 | 14
2 | 3 | 2 | 15
3 | 4 | 3 | 16
4 | 5 | 4 | 17
5 | 6 | 5 | 18
6 | 7 | 6 | 0
7 | 8 | 7 | 0
8 | 9 | 8 | 0
9 | 10 | 9 | 0
10 | 11 | 10 | 0
11 | 12 | 11 | 0

## StandaloneParameters
Quantity | Paramlist | CalcNo
| Calc_No_0 | 0
| Calc_No_1 | 1
| Calc_No_2 | 2
| Calc_No_3 | 4
| Calc_No_4 | 5
| Calc_No_5 | 6
| Calc_No_6 | 7
| Calc_No_7 | 404
| Calc_No_8 | 405
| Calc_No_9 | 406
| Calc_No_10 | 408
| Calc_No_11 | 409
| Calc_No_12 | 410
| Calc_No_13 | 411
| Calc_No_14 | 412
| Calc_No_15 | 413
| Calc_No_16 | 416
| Calc_No_17 | 417
| Calc_No_18 | 418
| Calc_No_19 | 419
| Calc_No_20 | 420
| Calc_No_21 | 421
| Calc_No_22 | 423
| Calc_No_23 | 424
| Calc_No_24 | 425
| Calc_No_25 | 426
| Calc_No_26 | 427
| Calc_No_27 | 428
| Calc_No_28 | 3609
| Calc_No_29 | 3610
| Calc_No_30 | 3611
| Calc_No_31 | 3623
| Calc_No_32 | 3625
| Calc_No_33 | 3627
| Calc_No_34 | 16777215
Calc_No_35
Calc_No_36
Calc_No_37
Calc_No_38
Calc_No_39
Calc_No_40
Calc_No_41
Calc_No_42
Calc_No_43
Calc_No_44
Calc_No_45
Calc_No_46
Calc_No_47
Calc_No_48
Calc_No_49
Calc_No_50
Calc_No_51
Calc_No_52
Calc_No_53
Calc_No_54
Calc_No_55
Calc_No_56
Calc_No_57
Calc_No_58
Calc_No_59
Calc_No_60
Calc_No_61
Calc_No_62
Calc_No_63
Calc_No_64
Calc_No_65
Calc_No_66
Calc_No_67
Calc_No_68
Calc_No_69
Calc_No_70
Calc_No_71
Calc_No_72
Calc_No_73
Calc_No_74
Calc_No_75
Calc_No_76
Calc_No_77
Calc_No_78
Calc_No_79
Calc_No_80
Calc_No_81
Calc_No_82
Calc_No_83
Calc_No_84
Calc_No_85
Calc_No_86
Calc_No_87
Calc_No_88
Calc_No_89
Calc_No_90
Calc_No_91
Calc_No_92
Calc_No_93
Calc_No_94
Calc_No_95
Calc_No_96
Calc_No_97
Calc_No_98
Calc_No_99
Calc_No_100
Calc_No_101
Calc_No_102
Calc_No_103
Calc_No_104
Calc_No_105
Calc_No_106
Calc_No_107
Calc_No_108
Calc_No_109
Calc_No_110
Calc_No_111
Calc_No_112
Calc_No_113
Calc_No_114
Calc_No_115
Calc_No_116
Calc_No_117
Calc_No_118
Calc_No_119
Calc_No_120
Calc_No_121
Calc_No_122
Calc_No_123
Calc_No_124
Calc_No_125
Calc_No_126
Calc_No_127
Calc_No_128
Calc_No_129
Calc_No_130
Calc_No_131
Calc_No_132
Calc_No_133
Calc_No_134
Calc_No_135
Calc_No_136
Calc_No_137
Calc_No_138
Calc_No_139
Calc_No_140
Calc_No_141
Calc_No_142
Calc_No_143
Calc_No_144
Calc_No_145
Calc_No_146
Calc_No_147
Calc_No_148
Calc_No_149
Calc_No_150
Calc_No_151
Calc_No_152
Calc_No_153
Calc_No_154
Calc_No_155
Calc_No_156
Calc_No_157
Calc_No_158
Calc_No_159
Calc_No_160
Calc_No_161
Calc_No_162
Calc_No_163
Calc_No_164
Calc_No_165
Calc_No_166
Calc_No_167
Calc_No_168
Calc_No_169
Calc_No_170
Calc_No_171
Calc_No_172
Calc_No_173
Calc_No_174
Calc_No_175
Calc_No_176
Calc_No_177
Calc_No_178
Calc_No_179
Calc_No_180
Calc_No_181
Calc_No_182
Calc_No_183
Calc_No_184
Calc_No_185
Calc_No_186
Calc_No_187
Calc_No_188
Calc_No_189
Calc_No_190
Calc_No_191
Calc_No_192
Calc_No_193
Calc_No_194
Calc_No_195
Calc_No_196
Calc_No_197
Calc_No_198
Calc_No_199
Calc_No_200
Calc_No_201
Calc_No_202
Calc_No_203
Calc_No_204
Calc_No_205
Calc_No_206
Calc_No_207
Calc_No_208
Calc_No_209
Calc_No_210
Calc_No_211
Calc_No_212
Calc_No_213
Calc_No_214
Calc_No_215
Calc_No_216
Calc_No_217
Calc_No_218
Calc_No_219
Calc_No_220
Calc_No_221
Calc_No_222
Calc_No_223
Calc_No_224
Calc_No_225
Calc_No_226
Calc_No_227
Calc_No_228
Calc_No_229
Calc_No_230
Calc_No_231
Calc_No_232
Calc_No_233
Calc_No_234
Calc_No_235
Calc_No_236
Calc_No_237
Calc_No_238
Calc_No_239
Calc_No_240
Calc_No_241
Calc_No_242
Calc_No_243
Calc_No_244
Calc_No_245
Calc_No_246
Calc_No_247
Calc_No_248
Calc_No_249
Calc_No_250
Calc_No_251
Calc_No_252
Calc_No_253
Calc_No_254
Calc_No_255
Calc_No_256
Calc_No_257
Calc_No_258
Calc_No_259
Calc_No_260
Calc_No_261
Calc_No_262
Calc_No_263
Calc_No_264
Calc_No_265
Calc_No_266
Calc_No_267
Calc_No_268
Calc_No_269
Calc_No_270
Calc_No_271
Calc_No_272
Calc_No_273
Calc_No_274
Calc_No_275
Calc_No_276
Calc_No_277
Calc_No_278
Calc_No_279
Calc_No_280
Calc_No_281
Calc_No_282
Calc_No_283
Calc_No_284
Calc_No_285
Calc_No_286
Calc_No_287
Calc_No_288
Calc_No_289
Calc_No_290
Calc_No_291
Calc_No_292
Calc_No_293
Calc_No_294
Calc_No_295
Calc_No_296
Calc_No_297
Calc_No_298
Calc_No_299
Calc_No_300
Calc_No_301
Calc_No_302
Calc_No_303
Calc_No_304
Calc_No_305
Calc_No_306
Calc_No_307
Calc_No_308
Calc_No_309
Calc_No_310
Calc_No_311
Calc_No_312
Calc_No_313
Calc_No_314
Calc_No_315
Calc_No_316
Calc_No_317
Calc_No_318
Calc_No_319
Calc_No_320
Calc_No_321
Calc_No_322
Calc_No_323
Calc_No_324
Calc_No_325
Calc_No_326
Calc_No_327
Calc_No_328
Calc_No_329
Calc_No_330
Calc_No_331
Calc_No_332
Calc_No_333
Calc_No_334
Calc_No_335
Calc_No_336
Calc_No_337
Calc_No_338
Calc_No_339
Calc_No_340
Calc_No_341
Calc_No_342
Calc_No_343
Calc_No_344
Calc_No_345
Calc_No_346
Calc_No_347
Calc_No_348
Calc_No_349
Calc_No_350
Calc_No_351
Calc_No_352
Calc_No_353
Calc_No_354
Calc_No_355
Calc_No_356
Calc_No_357
Calc_No_358
Calc_No_359
Calc_No_360
Calc_No_361
Calc_No_362
Calc_No_363
Calc_No_364
Calc_No_365
Calc_No_366
Calc_No_367
Calc_No_368
Calc_No_369
Calc_No_370
Calc_No_371
Calc_No_372
Calc_No_373
Calc_No_374
Calc_No_375
Calc_No_376
Calc_No_377
Calc_No_378
Calc_No_379
Calc_No_380
Calc_No_381
Calc_No_382
Calc_No_383
Calc_No_384
Calc_No_385
Calc_No_386
Calc_No_387
Calc_No_388
Calc_No_389
Calc_No_390
Calc_No_391
Calc_No_392
Calc_No_393
Calc_No_394
Calc_No_395
Calc_No_396
Calc_No_397
Calc_No_398
Calc_No_399
Calc_No_400
Calc_No_401
Calc_No_402
Calc_No_403
Calc_No_404
Calc_No_405
Calc_No_406
Calc_No_407
Calc_No_408
Calc_No_409
Calc_No_410
Calc_No_411
Calc_No_412
Calc_No_413
Calc_No_414
Calc_No_415
Calc_No_416
Calc_No_417
Calc_No_418
Calc_No_419
Calc_No_420
Calc_No_421
Calc_No_422
Calc_No_423
Calc_No_424
Calc_No_425
Calc_No_426
Calc_No_427
Calc_No_428
Calc_No_429
Calc_No_430
Calc_No_431
Calc_No_432
Calc_No_433
Calc_No_434
Calc_No_435
Calc_No_436
Calc_No_437
Calc_No_438
Calc_No_439
Calc_No_440
Calc_No_441
Calc_No_442
Calc_No_443
Calc_No_444
Calc_No_445
Calc_No_446
Calc_No_447
Calc_No_448
Calc_No_449
Calc_No_450
Calc_No_451
Calc_No_452
Calc_No_453
Calc_No_454
Calc_No_455
Calc_No_456
Calc_No_457
Calc_No_458
Calc_No_459
Calc_No_460
Calc_No_461
Calc_No_462
Calc_No_463
Calc_No_464
Calc_No_465
Calc_No_466
Calc_No_467
Calc_No_468
Calc_No_469
Calc_No_470
Calc_No_471
Calc_No_472
Calc_No_473
Calc_No_474
Calc_No_475
Calc_No_476
Calc_No_477
Calc_No_478
Calc_No_479
Calc_No_480
Calc_No_481
Calc_No_482
Calc_No_483
Calc_No_484
Calc_No_485
Calc_No_486
Calc_No_487
Calc_No_488
Calc_No_489
Calc_No_490
Calc_No_491
Calc_No_492
Calc_No_493
Calc_No_494
Calc_No_495
Calc_No_496
Calc_No_497
Calc_No_498
Calc_No_499
Calc_No_500
Calc_No_501
Calc_No_502
Calc_No_503
Calc_No_504
Calc_No_505
Calc_No_506
Calc_No_507
Calc_No_508
Calc_No_509
Calc_No_510
Calc_No_511
Calc_No_512
Calc_No_513
Calc_No_514
Calc_No_515
Calc_No_516
Calc_No_517
Calc_No_518
Calc_No_519
Calc_No_520
Calc_No_521
Calc_No_522
Calc_No_523
Calc_No_524
Calc_No_525
Calc_No_526
Calc_No_527
Calc_No_528
Calc_No_529
Calc_No_530
Calc_No_531
Calc_No_532
Calc_No_533
Calc_No_534
Calc_No_535
Calc_No_536
Calc_No_537
Calc_No_538
Calc_No_539
Calc_No_540
Calc_No_541
Calc_No_542
Calc_No_543
Calc_No_544
Calc_No_545
Calc_No_546
Calc_No_547
Calc_No_548
Calc_No_549
Calc_No_550
Calc_No_551
Calc_No_552
Calc_No_553
Calc_No_554
Calc_No_555
Calc_No_556
Calc_No_557
Calc_No_558
Calc_No_559
Calc_No_560
Calc_No_561
Calc_No_562
Calc_No_563
Calc_No_564
Calc_No_565
Calc_No_566
Calc_No_567
Calc_No_568
Calc_No_569
Calc_No_570
Calc_No_571
Calc_No_572
Calc_No_573
Calc_No_574
Calc_No_575
Calc_No_576
Calc_No_577
Calc_No_578
Calc_No_579
Calc_No_580
Calc_No_581
Calc_No_582
Calc_No_583
Calc_No_584
Calc_No_585
Calc_No_586
Calc_No_587
Calc_No_588
Calc_No_589
Calc_No_590
Calc_No_591
Calc_No_592
Calc_No_593
Calc_No_594
Calc_No_595
Calc_No_596
Calc_No_597
Calc_No_598
Calc_No_599
Calc_No_600
Calc_No_601
Calc_No_602
Calc_No_603
Calc_No_604
Calc_No_605
Calc_No_606
Calc_No_607
Calc_No_608
Calc_No_609
Calc_No_610
Calc_No_611
Calc_No_612
Calc_No_613
Calc_No_614
Calc_No_615
Calc_No_616
Calc_No_617
Calc_No_618
Calc_No_619
Calc_No_620
Calc_No_621
Calc_No_622
Calc_No_623
Calc_No_624
Calc_No_625
Calc_No_626
Calc_No_627
Calc_No_628
Calc_No_629
Calc_No_630
Calc_No_631
Calc_No_632
Calc_No_633
Calc_No_634
Calc_No_635
Calc_No_636
Calc_No_637
Calc_No_638
Calc_No_639
Calc_No_640
Calc_No_641
Calc_No_642
Calc_No_643
Calc_No_644
Calc_No_645
Calc_No_646
Calc_No_647
Calc_No_648
Calc_No_649
Calc_No_650
Calc_No_651
Calc_No_652
Calc_No_653
Calc_No_654
Calc_No_655
Calc_No_656
Calc_No_657
Calc_No_658
Calc_No_659
Calc_No_660
Calc_No_661
Calc_No_662
Calc_No_663
Calc_No_664
Calc_No_665
Calc_No_666
Calc_No_667
Calc_No_668
Calc_No_669
Calc_No_670
Calc_No_671
Calc_No_672
Calc_No_673
Calc_No_674
Calc_No_675
Calc_No_676
Calc_No_677
Calc_No_678
Calc_No_679
Calc_No_680
Calc_No_681
Calc_No_682
Calc_No_683
Calc_No_684
Calc_No_685
Calc_No_686
Calc_No_687
Calc_No_688
Calc_No_689
Calc_No_690
Calc_No_691
Calc_No_692
Calc_No_693
Calc_No_694
Calc_No_695
Calc_No_696
Calc_No_697
Calc_No_698
Calc_No_699
Calc_No_700
Calc_No_701
Calc_No_702
Calc_No_703
Calc_No_704
Calc_No_705
Calc_No_706
Calc_No_707
Calc_No_708
Calc_No_709
Calc_No_710
Calc_No_711
Calc_No_712
Calc_No_713
Calc_No_714
Calc_No_715
Calc_No_716
Calc_No_717
Calc_No_718
Calc_No_719
Calc_No_720
Calc_No_721
Calc_No_722
Calc_No_723
Calc_No_724
Calc_No_725
Calc_No_726
Calc_No_727
Calc_No_728
Calc_No_729
Calc_No_730
Calc_No_731
Calc_No_732
Calc_No_733
Calc_No_734
Calc_No_735
Calc_No_736
Calc_No_737
Calc_No_738
Calc_No_739
Calc_No_740
Calc_No_741
Calc_No_742
Calc_No_743
Calc_No_744
Calc_No_745
Calc_No_746
Calc_No_747
Calc_No_748
Calc_No_749
Calc_No_750
Calc_No_751
Calc_No_752
Calc_No_753
Calc_No_754
Calc_No_755
Calc_No_756
Calc_No_757
Calc_No_758
Calc_No_759
Calc_No_760
Calc_No_761
Calc_No_762
Calc_No_763
Calc_No_764
Calc_No_765
Calc_No_766
Calc_No_767
Calc_No_768
Calc_No_769
Calc_No_770
Calc_No_771
Calc_No_772
Calc_No_773
Calc_No_774
Calc_No_775
Calc_No_776
Calc_No_777
Calc_No_778
Calc_No_779
Calc_No_780
Calc_No_781
Calc_No_782
Calc_No_783
Calc_No_784
Calc_No_785
Calc_No_786
Calc_No_787
Calc_No_788
Calc_No_789
Calc_No_790
Calc_No_791
Calc_No_792
Calc_No_793
Calc_No_794
Calc_No_795
Calc_No_796
Calc_No_797
Calc_No_798
Calc_No_799
Calc_No_800
Calc_No_801
Calc_No_802
Calc_No_803
Calc_No_804
Calc_No_805
Calc_No_806
Calc_No_807
Calc_No_808
Calc_No_809
Calc_No_810
Calc_No_811
Calc_No_812
Calc_No_813
Calc_No_814
Calc_No_815
Calc_No_816
Calc_No_817
Calc_No_818
Calc_No_819
Calc_No_820
Calc_No_821
Calc_No_822
Calc_No_823
Calc_No_824
Calc_No_825
Calc_No_826
Calc_No_827
Calc_No_828
Calc_No_829
Calc_No_830
Calc_No_831
Calc_No_832
Calc_No_833
Calc_No_834
Calc_No_835
Calc_No_836
Calc_No_837
Calc_No_838
Calc_No_839
Calc_No_840
Calc_No_841
Calc_No_842
Calc_No_843
Calc_No_844
Calc_No_845
Calc_No_846
Calc_No_847
Calc_No_848
Calc_No_849
Calc_No_850
Calc_No_851
Calc_No_852
Calc_No_853
Calc_No_854
Calc_No_855
Calc_No_856
Calc_No_857
Calc_No_858
Calc_No_859
Calc_No_860
Calc_No_861
Calc_No_862
Calc_No_863
Calc_No_864
Calc_No_865
Calc_No_866
Calc_No_867
Calc_No_868
Calc_No_869
Calc_No_870
Calc_No_871
Calc_No_872
Calc_No_873
Calc_No_874
Calc_No_875
Calc_No_876
Calc_No_877
Calc_No_878
Calc_No_879
Calc_No_880
Calc_No_881
Calc_No_882
Calc_No_883
Calc_No_884
Calc_No_885
Calc_No_886
Calc_No_887
Calc_No_888
Calc_No_889
Calc_No_890
Calc_No_891
Calc_No_892
Calc_No_893
Calc_No_894
Calc_No_895
Calc_No_896
Calc_No_897
Calc_No_898
Calc_No_899
Calc_No_900
Calc_No_901
Calc_No_902
Calc_No_903
Calc_No_904
Calc_No_905
Calc_No_906
Calc_No_907
Calc_No_908
Calc_No_909
Calc_No_910
Calc_No_911
Calc_No_912
Calc_No_913
Calc_No_914
Calc_No_915
Calc_No_916
Calc_No_917
Calc_No_918
Calc_No_919
Calc_No_920
Calc_No_921
Calc_No_922
Calc_No_923
Calc_No_924
Calc_No_925
Calc_No_926
Calc_No_927
Calc_No_928
Calc_No_929
Calc_No_930
Calc_No_931
Calc_No_932
Calc_No_933
Calc_No_934
Calc_No_935
Calc_No_936
Calc_No_937
Calc_No_938
Calc_No_939
Calc_No_940
Calc_No_941
Calc_No_942
Calc_No_943
Calc_No_944
Calc_No_945
Calc_No_946
Calc_No_947
Calc_No_948
Calc_No_949
Calc_No_950
Calc_No_951
Calc_No_952
Calc_No_953
Calc_No_954
Calc_No_955
Calc_No_956
Calc_No_957
Calc_No_958
Calc_No_959
Calc_No_960
Calc_No_961
Calc_No_962
Calc_No_963
Calc_No_964
Calc_No_965
Calc_No_966
Calc_No_967
Calc_No_968
Calc_No_969
Calc_No_970
Calc_No_971
Calc_No_972
Calc_No_973
Calc_No_974
Calc_No_975
Calc_No_976
Calc_No_977
Calc_No_978
Calc_No_979
Calc_No_980
Calc_No_981
Calc_No_982
Calc_No_983
Calc_No_984
Calc_No_985
Calc_No_986
Calc_No_987
Calc_No_988
Calc_No_989
Calc_No_990
Calc_No_991
Calc_No_992
Calc_No_993
Calc_No_994
Calc_No_995
Calc_No_996
Calc_No_997
Calc_No_998
Calc_No_999
Calc_No_1000
Calc_No_1001
Calc_No_1002
Calc_No_1003
Calc_No_1004
Calc_No_1005
Calc_No_1006
Calc_No_1007
Calc_No_1008
Calc_No_1009
Calc_No_1010
Calc_No_1011
Calc_No_1012
Calc_No_1013
Calc_No_1014
Calc_No_1015
Calc_No_1016
Calc_No_1017
Calc_No_1018
Calc_No_1019
Calc_No_1020
Calc_No_1021
Calc_No_1022
Calc_No_1023
Calc_No_1024
Calc_No_1025
Calc_No_1026
Calc_No_1027
Calc_No_1028
Calc_No_1029
Calc_No_1030
Calc_No_1031
Calc_No_1032
Calc_No_1033
Calc_No_1034
Calc_No_1035
Calc_No_1036
Calc_No_1037
Calc_No_1038
Calc_No_1039
Calc_No_1040
Calc_No_1041
Calc_No_1042
Calc_No_1043
Calc_No_1044
Calc_No_1045
Calc_No_1046
Calc_No_1047
Calc_No_1048
Calc_No_1049
Calc_No_1050
Calc_No_1051
Calc_No_1052
Calc_No_1053
Calc_No_1054
Calc_No_1055
Calc_No_1056
Calc_No_1057
Calc_No_1058
Calc_No_1059
Calc_No_1060
Calc_No_1061
Calc_No_1062
Calc_No_1063
Calc_No_1064
Calc_No_1065
Calc_No_1066
Calc_No_1067
Calc_No_1068
Calc_No_1069
Calc_No_1070
Calc_No_1071
Calc_No_1072
Calc_No_1073
Calc_No_1074
Calc_No_1075
Calc_No_1076
Calc_No_1077
Calc_No_1078
Calc_No_1079
Calc_No_1080
Calc_No_1081
Calc_No_1082
Calc_No_1083
Calc_No_1084
Calc_No_1085
Calc_No_1086
Calc_No_1087
Calc_No_1088
Calc_No_1089
Calc_No_1090
Calc_No_1091
Calc_No_1092
Calc_No_1093
Calc_No_1094
Calc_No_1095
Calc_No_1096
Calc_No_1097
Calc_No_1098
Calc_No_1099
Calc_No_1100
Calc_No_1101
Calc_No_1102
Calc_No_1103
Calc_No_1104
Calc_No_1105
Calc_No_1106
Calc_No_1107
Calc_No_1108
Calc_No_1109
Calc_No_1110
Calc_No_1111
Calc_No_1112
Calc_No_1113
Calc_No_1114
Calc_No_1115
Calc_No_1116
Calc_No_1117
Calc_No_1118
Calc_No_1119
Calc_No_1120
Calc_No_1121
Calc_No_1122
Calc_No_1123
Calc_No_1124
Calc_No_1125
Calc_No_1126
Calc_No_1127
Calc_No_1128
Calc_No_1129
Calc_No_1130
Calc_No_1131
Calc_No_1132
Calc_No_1133
Calc_No_1134
Calc_No_1135
Calc_No_1136
Calc_No_1137
Calc_No_1138
Calc_No_1139
Calc_No_1140
Calc_No_1141
Calc_No_1142
Calc_No_1143
Calc_No_1144
Calc_No_1145
Calc_No_1146
Calc_No_1147
Calc_No_1148
Calc_No_1149
Calc_No_1150
Calc_No_1151
Calc_No_1152
Calc_No_1153
Calc_No_1154
Calc_No_1155
Calc_No_1156
Calc_No_1157
Calc_No_1158
Calc_No_1159
Calc_No_1160
Calc_No_1161
Calc_No_1162
Calc_No_1163
Calc_No_1164
Calc_No_1165
Calc_No_1166
Calc_No_1167
Calc_No_1168
Calc_No_1169
Calc_No_1170
Calc_No_1171
Calc_No_1172
Calc_No_1173
Calc_No_1174
Calc_No_1175
Calc_No_1176
Calc_No_1177
Calc_No_1178
Calc_No_1179
Calc_No_1180
Calc_No_1181
Calc_No_1182
Calc_No_1183
Calc_No_1184
Calc_No_1185
Calc_No_1186
Calc_No_1187
Calc_No_1188

## DSPFeederMap
DSP_Feeder_Map | Values
DSP_1_Feeder_Map_0 | 0
DSP_1_Feeder_Map_1 | 1
DSP_1_Feeder_Map_2 | 2
DSP_2_Feeder_Map_0 | 3
DSP_2_Feeder_Map_1 | 4
DSP_2_Feeder_Map_2 | -1

## BusbarFeederMap
Busbar_Channel_Map | Values
Busbar_0_Channel_0 | 1
Busbar_0_Channel_1 | 2
Busbar_0_Channel_2 | 3
Busbar_0_Channel_3 | 0
Busbar_0_Channel_Count | 3
Busbar_1_Channel_0 | 0
Busbar_1_Channel_1 | 0
Busbar_1_Channel_2 | 0
Busbar_1_Channel_3 | 0
Busbar_1_Channel_Count | 0
Feeder_0_Channel_0 | 4
Feeder_0_Channel_1 | 5
Feeder_0_Channel_2 | 6
Feeder_0_Channel_3 | 0
Feeder_0_Channel_Count | 3
Feeder_0_Channel_AssociatedBusbar | 0
Feeder_1_Channel_0 | 7
Feeder_1_Channel_1 | 8
Feeder_1_Channel_2 | 9
Feeder_1_Channel_3 | 0
Feeder_1_Channel_Count | 3
Feeder_1_Channel_AssociatedBusbar | 0
Feeder_2_Channel_0 | 10
Feeder_2_Channel_1 | 11
Feeder_2_Channel_2 | 12
Feeder_2_Channel_3 | 0
Feeder_2_Channel_Count | 3
Feeder_2_Channel_AssociatedBusbar | 0
Feeder_3_Channel_0 | 13
Feeder_3_Channel_1 | 14
Feeder_3_Channel_2 | 15
Feeder_3_Channel_3 | 0
Feeder_3_Channel_Count | 3
Feeder_3_Channel_AssociatedBusbar | 0
Feeder_4_Channel_0 | 16
Feeder_4_Channel_1 | 17
Feeder_4_Channel_2 | 18
Feeder_4_Channel_3 | 0
Feeder_4_Channel_Count | 3
Feeder_4_Channel_AssociatedBusbar | 0